## summary_all_scenarios.tsv
scenario | max_demand_response_share | total_cost | cost_per_kwh | cost_per_kwh_2020 | cost_per_kwh_2025 | cost_per_kwh_2030 | cost_per_kwh_2035 | renewable_share_all_years | renewable_share_2020 | renewable_share_2025 | renewable_share_2030 | renewable_share_2035
base | 0.3 | 21760457179.6606 | 0.22753 | 0.18881 | 0.18389 | 0.28057 | 0.28916 | 0.79133 | 0.4 | 0.7 | 1 | 1 | Base Case
2_bio | 0.3 | 22733445971.9943 | 0.2377 | 0.18871 | 0.18578 | 0.29936 | 0.31767 | 0.79289 | 0.4 | 0.7 | 1 | 1 | ≤ 2% biofuel
10_bio | 0.3 | 21119087402.6308 | 0.22082 | 0.18848 | 0.18215 | 0.2697 | 0.26988 | 0.78928 | 0.4 | 0.7 | 1 | 1 | ≤ 10% biofuel
100_bio | 0.3 | 20279417732.2443 | 0.21204 | 0.18876 | 0.18007 | 0.2466 | 0.25419 | 0.78632 | 0.4 | 0.7 | 1 | 1 | unlimited biofuel
0_dr | 0 | 23254780614.8467 | 0.24315 | 0.18865 | 0.19516 | 0.3109 | 0.31886 | 0.79534 | 0.4 | 0.7 | 1 | 1 | 0% demand response
10_dr | 0.1 | 22676667234.2468 | 0.23711 | 0.18866 | 0.18966 | 0.29986 | 0.30827 | 0.79397 | 0.4 | 0.7 | 1 | 1 | 10% demand response
20_dr | 0.2 | 22189629321.6274 | 0.23201 | 0.18882 | 0.1863 | 0.2898 | 0.29817 | 0.79271 | 0.4 | 0.7 | 1 | 1 | 20% demand response
40_dr | 0.4 | 21345640634.8543 | 0.22319 | 0.18899 | 0.18123 | 0.27146 | 0.28086 | 0.79037 | 0.4 | 0.7 | 1 | 1 | 40% demand response
re_cost_trend | 0.3 | 18195060621.7021 | 0.19025 | 0.18302 | 0.16287 | 0.20829 | 0.21978 | 0.79188 | 0.4 | 0.7 | 1 | 1 | renewable costs follow past trend
re_cost_trend_40_dr | 0.4 | 17814145882.2696 | 0.18626 | 0.18296 | 0.16043 | 0.20033 | 0.21203 | 0.79033 | 0.4 | 0.7 | 1 | 1 | 40% demand response + renewable costs follow past trend
no_ph | 0.3 | 22074370861.865 | 0.23081 | 0.18878 | 0.18386 | 0.2886 | 0.29686 | 0.79214 | 0.4 | 0.7 | 1 | 1 | no pumped hydro storage
triple_ph | 0.3 | 21686302088.9705 | 0.22675 | 0.18904 | 0.1839 | 0.27783 | 0.28803 | 0.79185 | 0.4 | 0.7 | 1 | 1 | three pumped storage projects available
no_wind | 0.3 | 21902431055.6375 | 0.22901 | 0.18922 | 0.18394 | 0.28065 | 0.29628 | 0.7922 | 0.4 | 0.7 | 1 | 1 | no new wind
no_wind_100_bio | 0.3 | 20330243259.2332 | 0.21257 | 0.18882 | 0.18008 | 0.24647 | 0.25708 | 0.78625 | 0.4 | 0.7 | 1 | 1 | no new wind, unlimited biofuel
no_wind_no_central_pv_100_bio | 0.3 | 21659473789.0345 | 0.22647 | 0.18912 | 0.19316 | 0.27026 | 0.28226 | 0.78696 | 0.4 | 0.7 | 1 | 1 | no new wind or central PV, unlimited biofuel
no_central_pv_100_bio | 0.3 | 21569558434.4122 | 0.22553 | 0.18815 | 0.19184 | 0.27266 | 0.27776 | 0.7865 | 0.4 | 0.7 | 1 | 1 | no new central PV, unlimited biofuel
fed_subsidies | 0.3 | 19574034210.6197 | 0.20466 | 0.18118 | 0.16831 | 0.24098 | 0.25138 | 0.80396 | 0.45317 | 0.7 | 1 | 1 | continued renewable subsidies
2045 | 0.3 | 25838090018.4132 | 0.20702 | 0.18307 | 0.19264 | 0.20353 | 0.28691 | 0.68108 | 0.4978 | 0.44674 | 0.7 | 1 | 100% RPS by 2045 (not 2030)
no_new_renewables | 0 | 18910152492.7579 | 0.19772 | 0.18847 | 0.18955 | 0.2003 | 0.22171 | 0.14743 | 0.16114 | 0.15463 | 0.13544 | 0.14029 | no new renewables, demand response or pumped hydro
low_oil_price | 0.3 | 20613561672.1428 | 0.21553 | 0.17318 | 0.17059 | 0.27142 | 0.28154 | 0.79131 | 0.4 | 0.7 | 1 | 1 | low oil price
high_oil_price | 0.3 | 23909236409.496 | 0.24999 | 0.21158 | 0.21132 | 0.30233 | 0.30477 | 0.79125 | 0.4 | 0.7 | 1 | 1 | high oil price
lng_oil_peg | 0.3 | 21807368779.8688 | 0.22802 | 0.1901 | 0.18388 | 0.28066 | 0.28958 | 0.80481 | 0.45971 | 0.7 | 1 | 1 | LNG price pegged to oil price
high_oil_and_lng_price | 0.3 | 24496797833.4936 | 0.25614 | 0.22388 | 0.21952 | 0.30223 | 0.30551 | 0.8047 | 0.45973 | 0.7 | 1 | 1 | LNG pegged to high oil price
2_bio | 0.3 | 22733445971.9943 | 0.2377 | 0.18871 | 0.18578 | 0.29936 | 0.31767 | 0.79289 | 0.4 | 0.7 | 1 | 1 | ≤ 2% biofuel
base | 0.3 | 21760457179.6606 | 0.22753 | 0.18881 | 0.18389 | 0.28057 | 0.28916 | 0.79133 | 0.4 | 0.7 | 1 | 1 | ≤5% biofuel (base case)
10_bio | 0.3 | 21119087402.6308 | 0.22082 | 0.18848 | 0.18215 | 0.2697 | 0.26988 | 0.78928 | 0.4 | 0.7 | 1 | 1 | ≤ 10% biofuel
100_bio | 0.3 | 20279417732.2443 | 0.21204 | 0.18876 | 0.18007 | 0.2466 | 0.25419 | 0.78632 | 0.4 | 0.7 | 1 | 1 | unlimited biofuel
base |  |  | #REF! |  |  |  |  | #REF!
|  |  | 0.22082 | 0.18848 | 0.18215 | 0.2697 | 0.26988 | 0.78928
low_oil_price |  |  | #REF!
0.21204
high_oil_price |  |  | #REF!
0.24315
scenario | max_demand_response_share | total_cost | cost_per_kwh | cost_per_kwh_2021 | cost_per_kwh_2029 | cost_per_kwh_2037 | cost_per_kwh_2045 | renewable_share_all_years | renewable_share_2021 | renewable_share_2029 | renewable_share_2037 | renewable_share_2045
rps_base | 0.2 | 17964788960.8005 | 0.14393 | 0.14283 | 0.13729 | 0.12943 | 0.17656 | 0.66921 | 0.4685 | 0.50915 | 0.7 | 1
rps_low_oil_price | 0.2 | 16682432671.4046 | 0.13366 | 0.13582 | 0.1246 | 0.11608 | 0.16737 | 0.6248 | 0.40393 | 0.4 | 0.7 | 1
rps_high_oil_price | 0.2 | 19541509044.3559 | 0.15657 | 0.15823 | 0.15306 | 0.13795 | 0.18352 | 0.66824 | 0.48099 | 0.46758 | 0.72461 | 1
rps_lng_oil_peg | 0.2 | 17972694136.4152 | 0.144 | 0.14361 | 0.13771 | 0.12914 | 0.17497 | 0.67051 | 0.45946 | 0.52518 | 0.7 | 1
rps_high_oil_and_lng_price | 0.2 | 20076184423.532 | 0.16085 | 0.16188 | 0.15874 | 0.14453 | 0.18379 | 0.74087 | 0.55547 | 0.61617 | 0.7892 | 1
x_base | 0 | 18819285288.1163 | 0.15078 | 0.1536 | 0.14558 | 0.14625 | 0.15936 | 0.17464 | 0.17311 | 0.16739 | 0.17817 | 0.17998
x_low_oil_price | 0 | 17523318366.6778 | 0.1404 | 0.14268 | 0.13971 | 0.1356 | 0.143 | 0.17462 | 0.17311 | 0.16739 | 0.17818 | 0.17987
x_high_oil_price | 0 | 20802665664.1406 | 0.16667 | 0.16385 | 0.16453 | 0.16462 | 0.17901 | 0.1746 | 0.17311 | 0.16739 | 0.17803 | 0.17998
x_lng_oil_peg | 0 | 21150365261.609 | 0.16946 | 0.15906 | 0.16267 | 0.17485 | 0.1959 | 0.17453 | 0.17311 | 0.16739 | 0.1779 | 0.17983
x_high_oil_and_lng_price | 0 | 26127536417.8772 | 0.20934 | 0.18429 | 0.20073 | 0.22401 | 0.25794 | 0.17451 | 0.17311 | 0.16739 | 0.17788 | 0.17972
rps_re_cost_trend | 0.2 | 15578779222.5668 | 0.12482 | 0.13786 | 0.12045 | 0.10867 | 0.12548 | 0.67151 | 0.41657 | 0.55781 | 0.7 | 1
rps_no_wind | 0.2 | 18248536749.8047 | 0.14621 | 0.14568 | 0.13779 | 0.13163 | 0.18065 | 0.66813 | 0.44433 | 0.52593 | 0.7 | 1
rps_no_wind_no_central_pv | 0.2 | 19621379775.0135 | 0.15721 | 0.15449 | 0.14372 | 0.14514 | 0.20143 | 0.59982 | 0.3 | 0.4 | 0.7 | 1
rps_no_ph | 0.2 | 18170893157.566 | 0.14559 | 0.14331 | 0.13935 | 0.13131 | 0.17976 | 0.66924 | 0.46991 | 0.50735 | 0.7 | 1
rps_triple_ph | 0.2 | 17927298005.5028 | 0.14363 | 0.1423 | 0.13779 | 0.12983 | 0.1745 | 0.66748 | 0.46564 | 0.50336 | 0.7 | 1
rps_fed_subsidies | 0.2 | 16472268449.8578 | 0.13198 | 0.13522 | 0.12606 | 0.11706 | 0.1546 | 0.69225 | 0.50383 | 0.56372 | 0.7 | 1
rps_no_dr | 0 | 18958123254.5924 | 0.15189 | 0.14746 | 0.14462 | 0.13915 | 0.19038 | 0.63 | 0.41479 | 0.4 | 0.7 | 1
rps_more_dr | 0.4 | 17242103179.6789 | 0.13814 | 0.1413 | 0.13168 | 0.12112 | 0.16469 | 0.68362 | 0.49859 | 0.54034 | 0.7 | 1
rps_re_cost_trend_more_dr | 0.4 | 14698211227.7739 | 0.11776 | 0.13564 | 0.11328 | 0.097927 | 0.11312 | 0.70072 | 0.42768 | 0.59261 | 0.78159 | 1
[9 empty] | 0.40393 | 0.4 | 0.7 | 1
[9 empty] | 0.48099 | 0.46758 | 0.72461 | 1
scenario names | [8 empty] | 0.45946 | 0.52518 | 0.7 | 1
short | long | [7 empty] | 0.55547 | 0.61617 | 0.7892 | 1
rps | RPS - base | [7 empty] | 0.17311 | 0.16739 | 0.17817 | 0.17998 |  | scenario names
rps_base | RPS - base | [7 empty] | 0.17311 | 0.16739 | 0.17818 | 0.17987 |  | short | long
rps_fed_subsidies | RPS - continued renewable subsidies | [7 empty] | 0.17311 | 0.16739 | 0.17803 | 0.17998 |  | base | Base Case
rps_high_oil_price | RPS - high oil price | [7 empty] | 0.17311 | 0.16739 | 0.1779 | 0.17983 |  | 0_dr | 0% demand response
rps_lng_oil_peg | RPS - LNG price pegged to oil price | [7 empty] | 0.17311 | 0.16739 | 0.17788 | 0.17972 |  | 10_dr | 10% demand response
rps_low_oil_price | RPS - low oil price | [7 empty] | 0.41657 | 0.55781 | 0.7 | 1 |  | 20_dr | 20% demand response
rps_high_oil_and_lng_price | RPS - LNG pegged to high oil price | [7 empty] | 0.44433 | 0.52593 | 0.7 | 1 |  | 40_dr | 40% demand response
rps_more_dr | RPS - more demand response (40%) | [7 empty] | 0.3 | 0.4 | 0.7 | 1 |  | 2_bio | ≤ 2% biofuel
rps_no_dr | RPS - no demand response | [7 empty] | 0.46991 | 0.50735 | 0.7 | 1 |  | 10_bio | ≤ 10% biofuel
rps_no_ph | RPS - no pumped hydro storage | [7 empty] | 0.46564 | 0.50336 | 0.7 | 1 |  | 100_bio | unlimited biofuel
rps_no_wind | RPS - no new wind | [7 empty] | 0.50383 | 0.56372 | 0.7 | 1 |  | 2045 | 100% RPS by 2045 (not 2030)
rps_no_wind_no_central_pv | RPS - no new wind or central PV | [7 empty] | 0.41479 | 0.4 | 0.7 | 1 |  | re_cost_trend | renewable costs follow past trend
rps_re_cost_trend | RPS - renewable costs follow past trend | [7 empty] | 0.49859 | 0.54034 | 0.7 | 1 |  | re_cost_trend_40_dr | 40% demand response + renewable costs follow past trend
rps_triple_ph | RPS - three pumped storage projects available | [12 empty] | no_wind | no new wind
rps_re_cost_trend_more_dr | RPS - high DR and RE cost trends continue | [12 empty] | no_wind_no_central_pv | no new wind or central PV
x | No New Renewables - base | [12 empty] | no_central_pv | no new central PV
x_base | No New Renewables - base | [12 empty] | no_wind_100_bio | no new wind, unlimited biofuel
x_high_oil_price | No New Renewables - high oil price | [12 empty] | no_wind_no_central_pv_100_bio | no new wind or central PV, unlimited biofuel
x_lng_oil_peg | No New Renewables - LNG price pegged to oil price | [12 empty] | no_central_pv_100_bio | no new central PV, unlimited biofuel
x_low_oil_price | No New Renewables - low oil price | [12 empty] | no_ph | no pumped hydro storage
x_high_oil_and_lng_price | No New Renewables - LNG pegged to high oil price | [12 empty] | triple_ph | three pumped storage projects available
[14 empty] | fed_subsidies | continued renewable subsidies
[14 empty] | high_oil_price | high oil price
[14 empty] | lng_oil_peg | LNG price pegged to oil price
[14 empty] | low_oil_price | low oil price
[14 empty] | high_oil_and_lng_price | LNG pegged to high oil price
[14 empty] | high_oil_and_lng_price | LNG pegged to high oil price
[14 empty] | no_new_renewables | no new renewables, demand response or pumped hydro
[14 empty] | x_base | No New Renewables - base
[14 empty] | x_high_oil_price | No New Renewables - high oil price
[14 empty] | x_lng_oil_peg | No New Renewables - LNG price pegged to oil price
[14 empty] | x_low_oil_price | No New Renewables - low oil price
[14 empty] | x_high_oil_and_lng_price | No New Renewables - LNG pegged to high oil price

## Sheet1
Base Forecast
generation_technology | g_overnight_cost | g_fixed_o_m | g_max_age | g_variable_o_m | g_full_load_heat_rate
CentralTrackingPV | 3472 | 34.43 | 25 | 0 | .
DistPV_peak | 4000 | 0 | 25 | 0 | .
Wind | 3510 | 79.52 | 20 | 0 | .
Reciprocating | 2702 | 10.14 | 30 | 11.74 | 8443
SCCT | 2800 | 22.015 | 30 | 12.22 | 10112
CCCT | 3510 | 63.775 | 30 | 10.395 | 7643
Trend Forecast | g_overnight_cost
generation_technology | 2021 | 2029 | 2037 | 2045
CentralTrackingPV | 2334.72 | 1375.4398 | 810.3048 | 477.3701
DistPV_peak | 2689.7696 | 1584.6081 | 933.5308 | 549.9655
Wind | 3748.1249 | 4090.9417 | 4465.1139 | 4873.5091
Trend Forecast |  | g_overnight_cost
generation_technology | investment_period
CentralTrackingPV | 2021 | 2334.72
| 2029 | 1375.4398
| 2037 | 810.3048
| 2045 | 477.3701
DistPV_peak | 2021 | 2689.7696
| 2029 | 1584.6081
| 2037 | 933.5308
| 2045 | 549.9655
Wind | 2021 | 3748.1249
| 2029 | 4090.9417
| 2037 | 4465.1139
| 2045 | 4873.5091
generation_technology | g_max_age | g_variable_o_m | g_full_load_heat_rate | g_unit_size
Kahuku_30_MW_WT | 49 | 0 | . | 30
Kawailoa_69_MW_WT | 48 | 0 | . | 69
Kalaeloa_5_MW_PV | 48 | 0 | . | 5
Solar_210_MW_PV | 47 | 0 | . | 210
HPower_MLG_60_MW_ST | 71 | 6.1425 | . | 60
AES_Coal_180_MW_ST | 68 | 4.47 | 10106.9046 | 180
CIP_Biodiesel_113_MW_GT | 51 | 4.935 | 18626.6599 | 113
Honolulu_LSFO_48.6_MW_ST | 60 | 8.19 | 14190.6747 | 48.6
Honolulu_LSFO_51.7_MW_ST | 57 | 8.19 | 14190.6747 | 51.7
Kahe_LSFO_128.1_MW_ST | 48 | 8.19 | 10237.7364 | 128.1
Kahe_LSFO_128.7_MW_ST | 41 | 8.19 | 10237.7364 | 128.7
Kahe_LSFO_77.9_MW_ST | 60 | 8.19 | 10237.7364 | 77.9
Kahe_LSFO_78.1_MW_ST | 59 | 8.19 | 10237.7364 | 78.1
Kahe_LSFO_82.1_MW_ST | 54 | 8.19 | 10237.7364 | 82.1
Kahe_LSFO_87.2_MW_ST | 52 | 8.19 | 10237.7364 | 87.2
Waiau_High-Sulfur-Diesel_51.2_MW_GT | 87 | 4.935 | 19048.8634 | 51.2
Waiau_LSFO_47.2_MW_ST | 70 | 8.19 | 10055.2906 | 47.2
Waiau_LSFO_47.7_MW_ST | 67 | 8.19 | 10055.2906 | 47.7
Waiau_LSFO_51.8_MW_ST | 67 | 8.19 | 10055.2906 | 51.8
Waiau_LSFO_51.9_MW_ST | 69 | 8.19 | 10055.2906 | 51.9
Waiau_LSFO_77.8_MW_ST | 62 | 8.19 | 10055.2906 | 77.8
Chevron_LSFO_3.2_MW_GT_cogen | 49 | 4.935 | 5623.49 | 3.2
Chevron_LSFO_3_MW_GT_cogen | 70 | 4.935 | 5623.4721 | 3
Kalaeloa_107_MW_CC_cogen | 69 | 6.1425 | 4453.1909 | 107
Tesoro_LSFO_20_MW_GT_cogen | 78 | 4.935 | 4345.6761 | 20