## re_supply_curve.tsv
load_zone | technology | site | orientation | max_capacity | cap_factor | cumulative | select c.load_zone, c.technology, c.site, c.orientation, c.max_capacity, avg(cap_factor) as cap_factor from max_capacity c natural join cap_factor f group by 1, 2, 3, 4, 5;
Oahu | CentralTrackingPV | 632 | na | 2.2976 | 0.18383 | 12972.0385
Oahu | CentralTrackingPV | 654 | na | 26.2568 | 0.18478 | 12969.7409
Oahu | CentralTrackingPV | 639 | na | 9.39 | 0.18624 | 12943.4842
Oahu | CentralTrackingPV | 633 | na | 10.124 | 0.18641 | 12934.0942
Oahu | CentralTrackingPV | 621 | na | 8.7564 | 0.18679 | 12923.9702
Oahu | CentralTrackingPV | 640 | na | 11.3119 | 0.18769 | 12915.2138
Oahu | CentralTrackingPV | 690 | na | 6.2781 | 0.18807 | 12903.9019
Oahu | CentralTrackingPV | 676 | na | 22.2744 | 0.18928 | 12897.6238
Oahu | CentralTrackingPV | 678 | na | 1.6403 | 0.18929 | 12875.3494
Oahu | CentralTrackingPV | 653 | na | 4.6142 | 0.19184 | 12873.7091
Oahu | CentralTrackingPV | 677 | na | 9.0244 | 0.19447 | 12869.095
Oahu | CentralTrackingPV | 695 | na | 1.9845 | 0.1947 | 12860.0705
Oahu | CentralTrackingPV | 622 | na | 34.5075 | 0.19519 | 12858.086
Oahu | CentralTrackingPV | 634 | na | 3.874 | 0.19587 | 12823.5785
Oahu | CentralTrackingPV | 665 | na | 6.0426 | 0.19604 | 12819.7044
Oahu | CentralTrackingPV | 641 | na | 13.4379 | 0.19629 | 12813.6618
Oahu | CentralTrackingPV | 679 | na | 9.7781 | 0.19686 | 12800.2239
Oahu | CentralTrackingPV | 683 | na | 0.020256 | 0.19879 | 12790.4458
Oahu | CentralTrackingPV | 655 | na | 36.8563 | 0.19891 | 12790.4256
Oahu | CentralTrackingPV | 623 | na | 29.6179 | 0.1993 | 12753.5693
Oahu | CentralTrackingPV | 642 | na | 1.1358 | 0.20049 | 12723.9514
Oahu | CentralTrackingPV | 694 | na | 3.4119 | 0.20092 | 12722.8156
Oahu | CentralTrackingPV | 675 | na | 16.0885 | 0.20109 | 12719.4037
Oahu | CentralTrackingPV | 672 | na | 3.2029 | 0.20319 | 12703.3152
Oahu | CentralTrackingPV | 618 | na | 20.7831 | 0.20332 | 12700.1122
Oahu | CentralTrackingPV | 689 | na | 1.5424 | 0.20354 | 12679.3291
Oahu | CentralTrackingPV | 643 | na | 32.0969 | 0.2049 | 12677.7867
Oahu | CentralTrackingPV | 628 | na | 1.4807 | 0.20531 | 12645.6898
Oahu | CentralTrackingPV | 680 | na | 1.3094 | 0.2056 | 12644.2092
Oahu | CentralTrackingPV | 666 | na | 26.8357 | 0.20578 | 12642.8998
Oahu | CentralTrackingPV | 673 | na | 0.79987 | 0.20744 | 12616.064
Oahu | CentralTrackingPV | 627 | na | 4.7096 | 0.2075 | 12615.2642
Oahu | CentralTrackingPV | 624 | na | 28.3027 | 0.20782 | 12610.5546
Oahu | CentralTrackingPV | 626 | na | 29.0096 | 0.20825 | 12582.2518
Oahu | CentralTrackingPV | 613 | na | 2.1288 | 0.20925 | 12553.2423
Oahu | CentralTrackingPV | 644 | na | 27.4715 | 0.21049 | 12551.1134
Oahu | CentralTrackingPV | 625 | na | 1.2435 | 0.21178 | 12523.642
Oahu | CentralTrackingPV | 681 | na | 0.18675 | 0.21232 | 12522.3985
Oahu | CentralTrackingPV | 620 | na | 1.4851 | 0.2124 | 12522.2117
Oahu | CentralTrackingPV | 659 | na | 5.3016 | 0.21269 | 12520.7266
Oahu | CentralTrackingPV | 619 | na | 34.69 | 0.2127 | 12515.425
Oahu | CentralTrackingPV | 705 | na | 9.4703 | 0.21307 | 12480.735
Oahu | CentralTrackingPV | 669 | na | 12.3288 | 0.21347 | 12471.2646
Oahu | CentralTrackingPV | 615 | na | 5.2584 | 0.21401 | 12458.9359
Oahu | CentralTrackingPV | 608 | na | 0.0063593 | 0.21414 | 12453.6775
Oahu | CentralTrackingPV | 646 | na | 15.3887 | 0.21443 | 12453.6711
Oahu | CentralTrackingPV | 656 | na | 18.4735 | 0.215 | 12438.2824
Oahu | CentralTrackingPV | 685 | na | 3.5534 | 0.21524 | 12419.8089
Oahu | CentralTrackingPV | 691 | na | 9.7865 | 0.21595 | 12416.2556
Oahu | CentralTrackingPV | 617 | na | 0.11221 | 0.21618 | 12406.4691
Oahu | CentralTrackingPV | 645 | na | 15.531 | 0.21654 | 12406.3569
Oahu | CentralTrackingPV | 614 | na | 3.7826 | 0.21668 | 12390.8258
Oahu | CentralTrackingPV | 710 | na | 30.0483 | 0.21689 | 12387.0432
Oahu | CentralTrackingPV | 664 | na | 4.3617 | 0.21751 | 12356.9949
Oahu | CentralTrackingPV | 661 | na | 3.1618 | 0.21828 | 12352.6332
Oahu | CentralTrackingPV | 657 | na | 7.0957 | 0.21882 | 12349.4713
Oahu | CentralTrackingPV | 658 | na | 20.8943 | 0.21886 | 12342.3756
Oahu | CentralTrackingPV | 662 | na | 4.0232 | 0.2189 | 12321.4813
Oahu | CentralTrackingPV | 686 | na | 2.2417 | 0.21896 | 12317.4581
Oahu | CentralTrackingPV | 709 | na | 54.6107 | 0.21907 | 12315.2164
Oahu | CentralTrackingPV | 630 | na | 5.3501 | 0.21918 | 12260.6057
Oahu | CentralTrackingPV | 609 | na | 10.1804 | 0.21984 | 12255.2556
Oahu | CentralTrackingPV | 704 | na | 41.7296 | 0.21992 | 12245.0752
Oahu | CentralTrackingPV | 682 | na | 1.783 | 0.22072 | 12203.3456
Oahu | CentralTrackingPV | 569 | na | 1.0856 | 0.22074 | 12201.5625
Oahu | CentralTrackingPV | 667 | na | 5.0502 | 0.22091 | 12200.4769
Oahu | CentralTrackingPV | 582 | na | 0.81048 | 0.22112 | 12195.4267
Oahu | CentralTrackingPV | 674 | na | 0.0041488 | 0.22193 | 12194.6162
Oahu | CentralTrackingPV | 663 | na | 32.039 | 0.22195 | 12194.612
Oahu | CentralTrackingPV | 696 | na | 6.7643 | 0.22232 | 12162.5731
Oahu | CentralTrackingPV | 594 | na | 0.3234 | 0.22241 | 12155.8088
Oahu | CentralTrackingPV | 610 | na | 11.9338 | 0.22307 | 12155.4854
Oahu | CentralTrackingPV | 603 | na | 1.1404 | 0.2242 | 12143.5516
Oahu | CentralTrackingPV | 570 | na | 5.6752 | 0.22425 | 12142.4112
Oahu | CentralTrackingPV | 660 | na | 6.4552 | 0.22437 | 12136.736
Oahu | CentralTrackingPV | 671 | na | 2.1204 | 0.22443 | 12130.2807
Oahu | CentralTrackingPV | 595 | na | 1.0158 | 0.22467 | 12128.1604
Oahu | CentralTrackingPV | 583 | na | 5.6631 | 0.22531 | 12127.1446
Oahu | CentralTrackingPV | 692 | na | 14.9546 | 0.22586 | 12121.4815
Oahu | CentralTrackingPV | 647 | na | 0.84377 | 0.22602 | 12106.5269
Oahu | CentralTrackingPV | 604 | na | 17.7965 | 0.22606 | 12105.6831
Oahu | CentralTrackingPV | 629 | na | 0.27759 | 0.22715 | 12087.8866
Oahu | CentralTrackingPV | 635 | na | 0.27957 | 0.22729 | 12087.609
Oahu | CentralTrackingPV | 638 | na | 0.25284 | 0.22802 | 12087.3294
Oahu | CentralTrackingPV | 697 | na | 7.62 | 0.22818 | 12087.0766
Oahu | CentralTrackingPV | 706 | na | 5.8237 | 0.22849 | 12079.4566
Oahu | CentralTrackingPV | 631 | na | 0.024417 | 0.22893 | 12073.6329
Oahu | CentralTrackingPV | 554 | na | 4.7156 | 0.22907 | 12073.6085
Oahu | CentralTrackingPV | 715 | na | 9.374 | 0.22909 | 12068.8928
Oahu | CentralTrackingPV | 651 | na | 1.9393 | 0.22913 | 12059.5189
Oahu | CentralTrackingPV | 668 | na | 23.1946 | 0.22955 | 12057.5796
Oahu | CentralTrackingPV | 637 | na | 0.078057 | 0.22958 | 12034.385
Oahu | CentralTrackingPV | 714 | na | 46.3994 | 0.23012 | 12034.3069
Oahu | CentralTrackingPV | 688 | na | 1.6629 | 0.23036 | 11987.9076
Oahu | CentralTrackingPV | 611 | na | 20.4178 | 0.23064 | 11986.2446
Oahu | CentralTrackingPV | 713 | na | 28.7653 | 0.23105 | 11965.8268
Oahu | CentralTrackingPV | 700 | na | 6.5596 | 0.23174 | 11937.0615
Oahu | CentralTrackingPV | 701 | na | 21.3279 | 0.23257 | 11930.5019
Oahu | CentralTrackingPV | 596 | na | 21.0313 | 0.23285 | 11909.174
Oahu | CentralTrackingPV | 702 | na | 1.4582 | 0.23304 | 11888.1427
Oahu | CentralTrackingPV | 584 | na | 9.251 | 0.23311 | 11886.6845
Oahu | CentralTrackingPV | 605 | na | 20.7499 | 0.23339 | 11877.4335
Oahu | CentralTrackingPV | 571 | na | 18.949 | 0.23345 | 11856.6835
Oahu | CentralTrackingPV | 707 | na | 2.8958 | 0.23467 | 11837.7346
Oahu | CentralTrackingPV | 597 | na | 28.6963 | 0.23478 | 11834.8388
Oahu | CentralTrackingPV | 711 | na | 1.4562 | 0.23596 | 11806.1425
Oahu | CentralTrackingPV | 670 | na | 0.53702 | 0.23699 | 11804.6863
Oahu | CentralTrackingPV | 585 | na | 30.6709 | 0.23763 | 11804.1492
Oahu | CentralTrackingPV | 555 | na | 13.1957 | 0.23794 | 11773.4784
Oahu | CentralTrackingPV | 606 | na | 26.6947 | 0.23827 | 11760.2827
Oahu | CentralTrackingPV | 652 | na | 0.63201 | 0.23909 | 11733.5879
Oahu | CentralTrackingPV | 572 | na | 17.5637 | 0.23919 | 11732.9559
Oahu | CentralTrackingPV | 719 | na | 40.0889 | 0.23982 | 11715.3922
Oahu | CentralTrackingPV | 535 | na | 11.7981 | 0.24019 | 11675.3034
Oahu | CentralTrackingPV | 687 | na | 0.0294 | 0.24045 | 11663.5053
Oahu | CentralTrackingPV | 553 | na | 3.4967 | 0.242 | 11663.4759
Oahu | CentralTrackingPV | 568 | na | 0.49477 | 0.24342 | 11659.9791
Oahu | CentralTrackingPV | 556 | na | 37.7858 | 0.24396 | 11659.4844
Oahu | CentralTrackingPV | 598 | na | 45.5718 | 0.24437 | 11621.6986
Oahu | CentralTrackingPV | 699 | na | 3.1041 | 0.24478 | 11576.1268
Oahu | CentralTrackingPV | 636 | na | 0.96896 | 0.2467 | 11573.0226
Oahu | CentralTrackingPV | 693 | na | 0.015576 | 0.24706 | 11572.0537
Oahu | CentralTrackingPV | 718 | na | 54.0646 | 0.24737 | 11572.0381
Oahu | CentralTrackingPV | 586 | na | 19.5821 | 0.24815 | 11517.9735
Oahu | CentralTrackingPV | 716 | na | 0.42379 | 0.24856 | 11498.3914
Oahu | CentralTrackingPV | 607 | na | 7.8778 | 0.24872 | 11497.9676
Oahu | CentralTrackingPV | 536 | na | 34.9381 | 0.24924 | 11490.0898
Oahu | CentralTrackingPV | 573 | na | 56.4911 | 0.24937 | 11455.1518
Oahu | CentralTrackingPV | 708 | na | 29.033 | 0.24988 | 11398.6607
Oahu | CentralTrackingPV | 599 | na | 26.6104 | 0.24996 | 11369.6277
Oahu | CentralTrackingPV | 720 | na | 0.0026143 | 0.25059 | 11343.0174
Oahu | CentralTrackingPV | 725 | na | 3.7852 | 0.25097 | 11343.0148
Oahu | CentralTrackingPV | 574 | na | 56.6867 | 0.25225 | 11339.2296
Oahu | CentralTrackingPV | 587 | na | 34.3667 | 0.25281 | 11282.5429
Oahu | CentralTrackingPV | 723 | na | 13.727 | 0.253 | 11248.1762
Oahu | CentralTrackingPV | 552 | na | 0.33619 | 0.2531 | 11234.4493
Oahu | CentralTrackingPV | 601 | na | 0.0059896 | 0.25383 | 11234.1131
Oahu | CentralTrackingPV | 731 | na | 0.79785 | 0.25415 | 11234.1071
Oahu | CentralTrackingPV | 724 | na | 31.582 | 0.2553 | 11233.3092
Oahu | CentralTrackingPV | 537 | na | 23.7608 | 0.25575 | 11201.7272
Oahu | CentralTrackingPV | 557 | na | 45.2082 | 0.25609 | 11177.9665
Oahu | CentralTrackingPV | 589 | na | 0.75807 | 0.2562 | 11132.7582
Oahu | CentralTrackingPV | 518 | na | 7.6811 | 0.25702 | 11132.0002
Oahu | CentralTrackingPV | 600 | na | 15.0875 | 0.25921 | 11124.319
Oahu | CentralTrackingPV | 576 | na | 0.73511 | 0.25952 | 11109.2315
Oahu | CentralTrackingPV | 703 | na | 18.8695 | 0.26061 | 11108.4964
Oahu | CentralTrackingPV | 551 | na | 0.027218 | 0.26083 | 11089.6269
Oahu | CentralTrackingPV | 558 | na | 47.9864 | 0.26104 | 11089.5997
Oahu | CentralTrackingPV | 588 | na | 16.8757 | 0.26119 | 11041.6133
Oahu | CentralTrackingPV | 730 | na | 0.52332 | 0.26309 | 11024.7376
Oahu | CentralTrackingPV | 648 | na | 13.3179 | 0.26321 | 11024.2143
Oahu | CentralTrackingPV | 575 | na | 39.2073 | 0.2641 | 11010.8963
Oahu | CentralTrackingPV | 519 | na | 18.6773 | 0.26521 | 10971.689
Oahu | CentralTrackingPV | 538 | na | 6.7553 | 0.26606 | 10953.0118
Oahu | CentralTrackingPV | 650 | na | 0.91419 | 0.26687 | 10946.2565
Oahu | CentralTrackingPV | 534 | na | 3.4226 | 0.26758 | 10945.3423
Oahu | CentralTrackingPV | 559 | na | 32.7983 | 0.26877 | 10941.9197
Oahu | CentralTrackingPV | 520 | na | 20.8849 | 0.26961 | 10909.1214
Oahu | CentralTrackingPV | 539 | na | 4.3171 | 0.26986 | 10888.2365
Oahu | CentralTrackingPV | 521 | na | 0.02352 | 0.27144 | 10883.9194
Oahu | CentralTrackingPV | 495 | na | 21.4356 | 0.2718 | 10883.8959
Oahu | CentralTrackingPV | 722 | na | 2.7382 | 0.2724 | 10862.4603
Oahu | CentralTrackingPV | 496 | na | 26.7608 | 0.27243 | 10859.7221
Oahu | CentralTrackingPV | 717 | na | 17.8714 | 0.27391 | 10832.9613
Oahu | CentralTrackingPV | 729 | na | 14.9487 | 0.27493 | 10815.0899
Oahu | CentralTrackingPV | 517 | na | 3.796 | 0.27641 | 10800.1412
Oahu | CentralTrackingPV | 728 | na | 0.39996 | 0.27782 | 10796.3451
Oahu | CentralTrackingPV | 497 | na | 13.0498 | 0.27787 | 10795.9452
Oahu | CentralTrackingPV | 649 | na | 2.5013 | 0.27888 | 10782.8953
Oahu | CentralTrackingPV | 469 | na | 31.7226 | 0.28024 | 10780.394
Oahu | CentralTrackingPV | 712 | na | 0.59503 | 0.28104 | 10748.6714
Oahu | CentralTrackingPV | 698 | na | 0.84468 | 0.28181 | 10748.0764
Oahu | CentralTrackingPV | 204 | na | 1.3464 | 0.2852 | 10747.2317
Oahu | CentralTrackingPV | 727 | na | 3.0947 | 0.2863 | 10745.8853
Oahu | CentralTrackingPV | 468 | na | 12.5136 | 0.28642 | 10742.7906
Oahu | CentralTrackingPV | 726 | na | 1.1625 | 0.28659 | 10730.277
Oahu | CentralTrackingPV | 516 | na | 3.8213 | 0.2867 | 10729.1146
Oahu | CentralTrackingPV | 721 | na | 0.15876 | 0.28704 | 10725.2933
Oahu | CentralTrackingPV | 238 | na | 41.8888 | 0.28719 | 10725.1345
Oahu | CentralTrackingPV | 470 | na | 6.4508 | 0.28736 | 10683.2457
Oahu | CentralTrackingPV | 205 | na | 3.4934 | 0.28741 | 10676.7948
Oahu | CentralTrackingPV | 237 | na | 27.3954 | 0.28742 | 10673.3015
Oahu | CentralTrackingPV | 446 | na | 1.9152 | 0.28849 | 10645.9061
Oahu | CentralTrackingPV | 241 | na | 40.3378 | 0.28871 | 10643.9909
Oahu | CentralTrackingPV | 203 | na | 0.8214 | 0.28874 | 10603.653
Oahu | CentralTrackingPV | 243 | na | 45.7772 | 0.2889 | 10602.8316
Oahu | CentralTrackingPV | 239 | na | 29.8223 | 0.28894 | 10557.0544
Oahu | CentralTrackingPV | 242 | na | 41.1266 | 0.28953 | 10527.2321
Oahu | CentralTrackingPV | 240 | na | 38.4086 | 0.28996 | 10486.1056
Oahu | CentralTrackingPV | 206 | na | 12.7149 | 0.29064 | 10447.697
Oahu | CentralTrackingPV | 207 | na | 8.7024 | 0.29115 | 10434.9821
Oahu | CentralTrackingPV | 236 | na | 26.5956 | 0.29211 | 10426.2797
Oahu | CentralTrackingPV | 208 | na | 15.3558 | 0.29403 | 10399.6842
Oahu | CentralTrackingPV | 244 | na | 42.8826 | 0.29408 | 10384.3284
Oahu | CentralTrackingPV | 209 | na | 11.4799 | 0.29514 | 10341.4458
Oahu | CentralTrackingPV | 278 | na | 51.3945 | 0.29616 | 10329.9659
Oahu | CentralTrackingPV | 273 | na | 55.9541 | 0.29618 | 10278.5713
Oahu | CentralTrackingPV | 272 | na | 41.5038 | 0.29626 | 10222.6172
Oahu | CentralTrackingPV | 271 | na | 23.7179 | 0.29661 | 10181.1134
Oahu | CentralTrackingPV | 211 | na | 0.10584 | 0.29703 | 10157.3955
Oahu | CentralTrackingPV | 444 | na | 9.8832 | 0.29719 | 10157.2897
Oahu | CentralTrackingPV | 413 | na | 11.16 | 0.29749 | 10147.4064
Oahu | CentralTrackingPV | 445 | na | 31.1437 | 0.29752 | 10136.2464
Oahu | CentralTrackingPV | 276 | na | 43.5838 | 0.29823 | 10105.1027
Oahu | CentralTrackingPV | 210 | na | 8.2076 | 0.29843 | 10061.5189
Oahu | CentralTrackingPV | 277 | na | 40.3113 | 0.29864 | 10053.3113
Oahu | CentralTrackingPV | 245 | na | 53.2822 | 0.29866 | 10013
Oahu | CentralTrackingPV | 202 | na | 4.6391 | 0.299 | 9959.7178
Oahu | CentralTrackingPV | 494 | na | 5.2741 | 0.29926 | 9955.0787
Oahu | CentralTrackingPV | 274 | na | 33.8209 | 0.29931 | 9949.8045
Oahu | CentralTrackingPV | 212 | na | 1.9618 | 0.29961 | 9915.9837
Oahu | CentralTrackingPV | 275 | na | 51.1571 | 0.29982 | 9914.0218
Oahu | CentralTrackingPV | 235 | na | 7.291 | 0.30008 | 9862.8647
Oahu | CentralTrackingPV | 279 | na | 41.1167 | 0.30051 | 9855.5737
Oahu | CentralTrackingPV | 29 | na | 9.8502 | 0.30057 | 9814.457
Oahu | CentralTrackingPV | 270 | na | 43.8914 | 0.30067 | 9804.6068
Oahu | CentralTrackingPV | 38 | na | 33.5998 | 0.30142 | 9760.7154
Oahu | CentralTrackingPV | 309 | na | 48.8582 | 0.3015 | 9727.1156
Oahu | CentralTrackingPV | 280 | na | 57.9439 | 0.30196 | 9678.2574
Oahu | CentralTrackingPV | 377 | na | 1.6301 | 0.30247 | 9620.3134
Oahu | CentralTrackingPV | 179 | na | 0.04116 | 0.30262 | 9618.6833
Oahu | CentralTrackingPV | 308 | na | 40.4337 | 0.3027 | 9618.6421
Oahu | CentralTrackingPV | 22 | na | 40.8631 | 0.30312 | 9578.2084
Oahu | CentralTrackingPV | 213 | na | 23.5114 | 0.30319 | 9537.3453
Oahu | CentralTrackingPV | 50 | na | 0.019815 | 0.30329 | 9513.8338
Oahu | CentralTrackingPV | 234 | na | 21.2344 | 0.30369 | 9513.814
Oahu | CentralTrackingPV | 339 | na | 3.9527 | 0.30372 | 9492.5796
Oahu | CentralTrackingPV | 180 | na | 0.00588 | 0.30378 | 9488.6269
Oahu | CentralTrackingPV | 51 | na | 39.5937 | 0.3038 | 9488.6211
Oahu | CentralTrackingPV | 246 | na | 47.2049 | 0.30404 | 9449.0273
Oahu | CentralTrackingPV | 65 | na | 0.16883 | 0.30406 | 9401.8224
Oahu | CentralTrackingPV | 310 | na | 36.512 | 0.30441 | 9401.6536
Oahu | CentralTrackingPV | 347 | na | 24.7007 | 0.30475 | 9365.1415
Oahu | CentralTrackingPV | 316 | na | 38.4429 | 0.30494 | 9340.4408
Oahu | CentralTrackingPV | 80 | na | 1.2247 | 0.30502 | 9301.998
Oahu | CentralTrackingPV | 269 | na | 57.6175 | 0.30515 | 9300.7732
Oahu | CentralTrackingPV | 81 | na | 14.9492 | 0.30528 | 9243.1557
Oahu | CentralTrackingPV | 79 | na | 0.0588 | 0.30532 | 9228.2065
Oahu | CentralTrackingPV | 30 | na | 56.5173 | 0.30537 | 9228.1477
Oahu | CentralTrackingPV | 37 | na | 0.24696 | 0.30542 | 9171.6304
Oahu | CentralTrackingPV | 348 | na | 5.7619 | 0.30545 | 9171.3835
Oahu | CentralTrackingPV | 39 | na | 57.8988 | 0.3055 | 9165.6215
Oahu | CentralTrackingPV | 311 | na | 54.6575 | 0.30559 | 9107.7227
Oahu | CentralTrackingPV | 233 | na | 15.1287 | 0.3059 | 9053.0653
Oahu | CentralTrackingPV | 15 | na | 10.4549 | 0.30595 | 9037.9366
Oahu | CentralTrackingPV | 306 | na | 57.7669 | 0.30626 | 9027.4817
Oahu | CentralTrackingPV | 307 | na | 44.37 | 0.30627 | 8969.7148
Oahu | CentralTrackingPV | 314 | na | 32.0133 | 0.30651 | 8925.3447
Oahu | CentralTrackingPV | 21 | na | 0.079942 | 0.30661 | 8893.3314
Oahu | CentralTrackingPV | 493 | na | 0.04704 | 0.30663 | 8893.2514
Oahu | CentralTrackingPV | 247 | na | 12.9631 | 0.30669 | 8893.2044
Oahu | CentralTrackingPV | 184 | na | 10.0608 | 0.30675 | 8880.2413
Oahu | CentralTrackingPV | 346 | na | 49.9663 | 0.30677 | 8870.1804
Oahu | CentralTrackingPV | 312 | na | 57.938 | 0.30691 | 8820.2141
Oahu | CentralTrackingPV | 315 | na | 34.2285 | 0.30692 | 8762.2761
Oahu | CentralTrackingPV | 268 | na | 28.6701 | 0.30696 | 8728.0476
Oahu | CentralTrackingPV | 281 | na | 41.218 | 0.30701 | 8699.3776
Oahu | CentralTrackingPV | 16 | na | 10.3429 | 0.30709 | 8658.1596
Oahu | CentralTrackingPV | 411 | na | 19.0417 | 0.30723 | 8647.8167
Oahu | CentralTrackingPV | 94 | na | 0.7682 | 0.3074 | 8628.775
Oahu | CentralTrackingPV | 412 | na | 12.6821 | 0.30742 | 8628.0068
Oahu | CentralTrackingPV | 305 | na | 56.6863 | 0.30744 | 8615.3248
Oahu | CentralTrackingPV | 214 | na | 22.1966 | 0.30746 | 8558.6385
Oahu | CentralTrackingPV | 317 | na | 54.1646 | 0.30749 | 8536.4419
Oahu | CentralTrackingPV | 384 | na | 12.4773 | 0.3076 | 8482.2772
Oahu | CentralTrackingPV | 232 | na | 13.0569 | 0.30768 | 8469.7999
Oahu | CentralTrackingPV | 181 | na | 0.01176 | 0.30786 | 8456.743
Oahu | CentralTrackingPV | 178 | na | 0.7938 | 0.30789 | 8456.7312
Oahu | CentralTrackingPV | 267 | na | 27.2167 | 0.30807 | 8455.9374
Oahu | CentralTrackingPV | 301 | na | 6.1992 | 0.30809 | 8428.7208
Oahu | CentralTrackingPV | 318 | na | 7.5844 | 0.30809 | 8422.5215
Oahu | CentralTrackingPV | 313 | na | 38.4597 | 0.30824 | 8414.9371
Oahu | CentralTrackingPV | 349 | na | 31.1585 | 0.30827 | 8376.4774
Oahu | CentralTrackingPV | 420 | na | 0.32651 | 0.30843 | 8345.3189
Oahu | CentralTrackingPV | 231 | na | 0.59672 | 0.30845 | 8344.9924
Oahu | CentralTrackingPV | 419 | na | 4.0984 | 0.30846 | 8344.3957
Oahu | CentralTrackingPV | 282 | na | 3.8283 | 0.30852 | 8340.2973
Oahu | CentralTrackingPV | 266 | na | 17.6548 | 0.30854 | 8336.469
Oahu | CentralTrackingPV | 230 | na | 0.0051335 | 0.30861 | 8318.8143
Oahu | CentralTrackingPV | 4 | na | 28.1687 | 0.30862 | 8318.8091
Oahu | CentralTrackingPV | 3 | na | 11.0094 | 0.30877 | 8290.6405
Oahu | CentralTrackingPV | 383 | na | 2.1935 | 0.30877 | 8279.6311
Oahu | CentralTrackingPV | 108 | na | 56.6329 | 0.30879 | 8277.4376
Oahu | CentralTrackingPV | 163 | na | 0.55187 | 0.3088 | 8220.8047
Oahu | CentralTrackingPV | 375 | na | 13.1891 | 0.30883 | 8220.2529
Oahu | CentralTrackingPV | 421 | na | 29.4154 | 0.30886 | 8207.0638
Oahu | CentralTrackingPV | 95 | na | 26.4066 | 0.30891 | 8177.6484
Oahu | CentralTrackingPV | 353 | na | 46.5903 | 0.30896 | 8151.2417
Oahu | CentralTrackingPV | 183 | na | 15.6014 | 0.30903 | 8104.6514
Oahu | CentralTrackingPV | 66 | na | 44.6755 | 0.30911 | 8089.05
Oahu | CentralTrackingPV | 376 | na | 15.8832 | 0.30928 | 8044.3746
Oahu | CentralTrackingPV | 418 | na | 8.8068 | 0.30929 | 8028.4914
Oahu | CentralTrackingPV | 229 | na | 2.6139 | 0.30942 | 8019.6846
Oahu | CentralTrackingPV | 417 | na | 3.814 | 0.30948 | 8017.0707
Oahu | CentralTrackingPV | 304 | na | 46.3773 | 0.30951 | 8013.2567
Oahu | CentralTrackingPV | 303 | na | 50.5161 | 0.30952 | 7966.8794
Oahu | CentralTrackingPV | 350 | na | 54.2904 | 0.30952 | 7916.3633
Oahu | CentralTrackingPV | 120 | na | 4.6765 | 0.30954 | 7862.0728
Oahu | CentralTrackingPV | 265 | na | 0.79383 | 0.30959 | 7857.3963
Oahu | CentralTrackingPV | 302 | na | 36.1752 | 0.30969 | 7856.6025
Oahu | CentralTrackingPV | 343 | na | 51.0828 | 0.30973 | 7820.4273
Oahu | CentralTrackingPV | 345 | na | 47.865 | 0.30974 | 7769.3444
Oahu | CentralTrackingPV | 182 | na | 0.65117 | 0.30984 | 7721.4794
Oahu | CentralTrackingPV | 385 | na | 18.6992 | 0.30989 | 7720.8283
Oahu | CentralTrackingPV | 31 | na | 15.8046 | 0.31005 | 7702.129
Oahu | CentralTrackingPV | 449 | na | 0.27562 | 0.31009 | 7686.3244
Oahu | CentralTrackingPV | 200 | na | 6.8933 | 0.31015 | 7686.0488
Oahu | CentralTrackingPV | 341 | na | 15.4572 | 0.3102 | 7679.1555
Oahu | CentralTrackingPV | 422 | na | 48.4684 | 0.31024 | 7663.6984
Oahu | CentralTrackingPV | 340 | na | 16.299 | 0.31024 | 7615.23
Oahu | CentralTrackingPV | 136 | na | 53.5032 | 0.31042 | 7598.9309
Oahu | CentralTrackingPV | 96 | na | 52.0248 | 0.31055 | 7545.4277
Oahu | CentralTrackingPV | 378 | na | 0.38018 | 0.3106 | 7493.4029
Oahu | CentralTrackingPV | 197 | na | 2.5455 | 0.31066 | 7493.0227
Oahu | CentralTrackingPV | 263 | na | 0.24789 | 0.31071 | 7490.4772
Oahu | CentralTrackingPV | 107 | na | 4.4351 | 0.31072 | 7490.2293
Oahu | CentralTrackingPV | 5 | na | 20.9961 | 0.31072 | 7485.7943
Oahu | CentralTrackingPV | 450 | na | 37.8529 | 0.31075 | 7464.7982
Oahu | CentralTrackingPV | 355 | na | 17.8061 | 0.31077 | 7426.9453
Oahu | CentralTrackingPV | 382 | na | 31.6715 | 0.31081 | 7409.1392
Oahu | CentralTrackingPV | 23 | na | 16.2218 | 0.3109 | 7377.4677
Oahu | CentralTrackingPV | 40 | na | 10.2477 | 0.31093 | 7361.2459
Oahu | CentralTrackingPV | 354 | na | 46.4399 | 0.31094 | 7350.9982
Oahu | CentralTrackingPV | 342 | na | 55.3806 | 0.31099 | 7304.5582
Oahu | CentralTrackingPV | 344 | na | 32.4853 | 0.31104 | 7249.1776
Oahu | CentralTrackingPV | 82 | na | 54.7064 | 0.31108 | 7216.6924
Oahu | CentralTrackingPV | 198 | na | 9.274 | 0.31116 | 7161.9859
Oahu | CentralTrackingPV | 9 | na | 10.7637 | 0.31119 | 7152.7119
Oahu | CentralTrackingPV | 106 | na | 0.12885 | 0.31123 | 7141.9483
Oahu | CentralTrackingPV | 379 | na | 33.0915 | 0.31132 | 7141.8194
Oahu | CentralTrackingPV | 53 | na | 7.4251 | 0.31139 | 7108.7279
Oahu | CentralTrackingPV | 199 | na | 16.9487 | 0.3116 | 7101.3027
Oahu | CentralTrackingPV | 122 | na | 29.1763 | 0.31162 | 7084.354
Oahu | CentralTrackingPV | 352 | na | 32.2401 | 0.3117 | 7055.1777
Oahu | CentralTrackingPV | 351 | na | 17.9184 | 0.3117 | 7022.9375
Oahu | CentralTrackingPV | 121 | na | 42.3196 | 0.31171 | 7005.0191
Oahu | CentralTrackingPV | 148 | na | 37.5172 | 0.31172 | 6962.6995
Oahu | CentralTrackingPV | 476 | na | 0.77048 | 0.31172 | 6925.1823
Oahu | CentralTrackingPV | 67 | na | 57.8993 | 0.31173 | 6924.4118
Oahu | CentralTrackingPV | 52 | na | 58.2006 | 0.31177 | 6866.5126
Oahu | CentralTrackingPV | 135 | na | 2.8782 | 0.3118 | 6808.312
Oahu | CentralTrackingPV | 475 | na | 0.011051 | 0.31188 | 6805.4338
Oahu | CentralTrackingPV | 381 | na | 21.3836 | 0.3119 | 6805.4227
Oahu | CentralTrackingPV | 264 | na | 0.035459 | 0.3119 | 6784.0392
Oahu | CentralTrackingPV | 451 | na | 19.8386 | 0.31193 | 6784.0037
Oahu | CentralTrackingPV | 109 | na | 54.8836 | 0.31196 | 6764.1651
Oahu | CentralTrackingPV | 185 | na | 0.96022 | 0.31196 | 6709.2815
Oahu | CentralTrackingPV | 380 | na | 36.3436 | 0.312 | 6708.3212
Oahu | CentralTrackingPV | 201 | na | 3.1685 | 0.31202 | 6671.9777
Oahu | CentralTrackingPV | 110 | na | 57.3566 | 0.31207 | 6668.8092
Oahu | CentralTrackingPV | 83 | na | 57.8995 | 0.31215 | 6611.4526
Oahu | CentralTrackingPV | 8 | na | 7.8926 | 0.31227 | 6553.5531
Oahu | CentralTrackingPV | 338 | na | 15.6854 | 0.31236 | 6545.6605
Oahu | CentralTrackingPV | 415 | na | 6.1084 | 0.3124 | 6529.9751
Oahu | CentralTrackingPV | 391 | na | 16.8304 | 0.31242 | 6523.8666
Oahu | CentralTrackingPV | 477 | na | 12.3739 | 0.31244 | 6507.0362
Oahu | CentralTrackingPV | 416 | na | 6.7902 | 0.31245 | 6494.6623
Oahu | CentralTrackingPV | 467 | na | 5.3684 | 0.31262 | 6487.8721
Oahu | CentralTrackingPV | 386 | na | 27.5947 | 0.31272 | 6482.5036
Oahu | CentralTrackingPV | 389 | na | 1.3528 | 0.3128 | 6454.909
Oahu | CentralTrackingPV | 164 | na | 0.51555 | 0.31283 | 6453.5561
Oahu | CentralTrackingPV | 140 | na | 7.35e-05 | 0.31313 | 6453.0406
Oahu | CentralTrackingPV | 175 | na | 3.1686 | 0.31314 | 6453.0405
Oahu | CentralTrackingPV | 6 | na | 0.018489 | 0.31315 | 6449.8719
Oahu | CentralTrackingPV | 423 | na | 13.8842 | 0.31315 | 6449.8535
Oahu | CentralTrackingPV | 503 | na | 37.9673 | 0.31317 | 6435.9692
Oahu | CentralTrackingPV | 166 | na | 35.4823 | 0.31322 | 6398.002
Oahu | CentralTrackingPV | 147 | na | 27.2695 | 0.31324 | 6362.5197
Oahu | CentralTrackingPV | 337 | na | 17.6643 | 0.31325 | 6335.2502
Oahu | CentralTrackingPV | 388 | na | 0.59983 | 0.31335 | 6317.5859
Oahu | CentralTrackingPV | 119 | na | 0.01764 | 0.31335 | 6316.9861
Oahu | CentralTrackingPV | 504 | na | 21.4669 | 0.31336 | 6316.9685
Oahu | CentralTrackingPV | 137 | na | 47.9379 | 0.31339 | 6295.5016
Oahu | CentralTrackingPV | 319 | na | 3.5424 | 0.31343 | 6247.5636
Oahu | CentralTrackingPV | 478 | na | 4.1384 | 0.31346 | 6244.0213
Oahu | CentralTrackingPV | 522 | na | 2.3428 | 0.31355 | 6239.8828
Oahu | CentralTrackingPV | 138 | na | 48.9654 | 0.31365 | 6237.54
Oahu | CentralTrackingPV | 387 | na | 8.7221 | 0.31366 | 6188.5746
Oahu | CentralTrackingPV | 452 | na | 18.2446 | 0.31366 | 6179.8525
Oahu | CentralTrackingPV | 68 | na | 8.0936 | 0.31376 | 6161.608
Oahu | CentralTrackingPV | 174 | na | 0.64327 | 0.31384 | 6153.5144
Oahu | CentralTrackingPV | 84 | na | 10.2488 | 0.31386 | 6152.8711
Oahu | CentralTrackingPV | 390 | na | 2.7692 | 0.3142 | 6142.6224
Oahu | CentralTrackingPV | 560 | na | 0.67032 | 0.31421 | 6139.8532
Oahu | CentralTrackingPV | 215 | na | 16.957 | 0.31425 | 6139.1829
Oahu | CentralTrackingPV | 98 | na | 18.6907 | 0.31426 | 6122.2258
Oahu | CentralTrackingPV | 524 | na | 17.8578 | 0.31428 | 6103.5351
Oahu | CentralTrackingPV | 414 | na | 17.6769 | 0.31434 | 6085.6774
Oahu | CentralTrackingPV | 525 | na | 11.1793 | 0.31438 | 6068.0005
Oahu | CentralTrackingPV | 448 | na | 19.7084 | 0.31438 | 6056.8212
Oahu | CentralTrackingPV | 502 | na | 9.0745 | 0.31438 | 6037.1127
Oahu | CentralTrackingPV | 392 | na | 0.039358 | 0.31441 | 6028.0382
Oahu | CentralTrackingPV | 167 | na | 27.9378 | 0.3145 | 6027.9988
Oahu | CentralTrackingPV | 505 | na | 8.6933 | 0.31451 | 6000.0611
Oahu | CentralTrackingPV | 97 | na | 57.8998 | 0.31455 | 5991.3677
Oahu | CentralTrackingPV | 149 | na | 40.4013 | 0.31463 | 5933.468
Oahu | CentralTrackingPV | 426 | na | 27.0977 | 0.31469 | 5893.0666
Oahu | CentralTrackingPV | 154 | na | 2.8274 | 0.31475 | 5865.9689
Oahu | CentralTrackingPV | 168 | na | 44.5911 | 0.31475 | 5863.1415
Oahu | CentralTrackingPV | 428 | na | 0.030107 | 0.3148 | 5818.5505
Oahu | CentralTrackingPV | 150 | na | 42.6409 | 0.31484 | 5818.5204
Oahu | CentralTrackingPV | 176 | na | 11.2631 | 0.31486 | 5775.8795
Oahu | CentralTrackingPV | 474 | na | 6.7813 | 0.31489 | 5764.6164
Oahu | CentralTrackingPV | 299 | na | 22.1683 | 0.31495 | 5757.8351
Oahu | CentralTrackingPV | 123 | na | 36.057 | 0.31499 | 5735.6669
Oahu | CentralTrackingPV | 455 | na | 5.8772 | 0.31513 | 5699.6099
Oahu | CentralTrackingPV | 479 | na | 41.9585 | 0.31517 | 5693.7327
Oahu | CentralTrackingPV | 124 | na | 11.9229 | 0.31522 | 5651.7742
Oahu | CentralTrackingPV | 425 | na | 0.023495 | 0.31525 | 5639.8513
Oahu | CentralTrackingPV | 424 | na | 0.082252 | 0.31526 | 5639.8278
Oahu | CentralTrackingPV | 283 | na | 9.4246 | 0.31527 | 5639.7456
Oahu | CentralTrackingPV | 427 | na | 18.6299 | 0.31531 | 5630.321
Oahu | CentralTrackingPV | 155 | na | 0.76264 | 0.31541 | 5611.691
Oahu | CentralTrackingPV | 506 | na | 26.4473 | 0.31546 | 5610.9284
Oahu | CentralTrackingPV | 146 | na | 1.2317 | 0.31553 | 5584.4811
Oahu | CentralTrackingPV | 447 | na | 24.0579 | 0.31555 | 5583.2494
Oahu | CentralTrackingPV | 484 | na | 0.030961 | 0.31565 | 5559.1915
Oahu | CentralTrackingPV | 541 | na | 2.6294 | 0.31567 | 5559.1606
Oahu | CentralTrackingPV | 523 | na | 15.6628 | 0.31568 | 5556.5312
Oahu | CentralTrackingPV | 526 | na | 1.302 | 0.31576 | 5540.8684
Oahu | CentralTrackingPV | 473 | na | 8.2535 | 0.31581 | 5539.5665
Oahu | CentralTrackingPV | 177 | na | 9.6818 | 0.3159 | 5531.313
Oahu | CentralTrackingPV | 356 | na | 2.9157 | 0.31598 | 5521.6311
Oahu | CentralTrackingPV | 410 | na | 16.019 | 0.31601 | 5518.7155
Oahu | CentralTrackingPV | 261 | na | 32.6301 | 0.31605 | 5502.6964
Oahu | CentralTrackingPV | 216 | na | 50.9977 | 0.31605 | 5470.0663
Oahu | CentralTrackingPV | 186 | na | 14.1298 | 0.31618 | 5419.0686
Oahu | CentralTrackingPV | 542 | na | 4.5564 | 0.31627 | 5404.9388
Oahu | CentralTrackingPV | 456 | na | 14.489 | 0.31629 | 5400.3824
Oahu | CentralTrackingPV | 300 | na | 18.6533 | 0.31631 | 5385.8934
Oahu | CentralTrackingPV | 14 | na | 0.90784 | 0.31631 | 5367.2401
Oahu | CentralTrackingPV | 156 | na | 1.6128 | 0.31632 | 5366.3322
Oahu | CentralTrackingPV | 513 | na | 0.51156 | 0.31638 | 5364.7194
Oahu | CentralTrackingPV | 501 | na | 4.5907 | 0.31639 | 5364.2078
Oahu | CentralTrackingPV | 187 | na | 37.8265 | 0.31646 | 5359.6172
Oahu | CentralTrackingPV | 189 | na | 31.0255 | 0.31649 | 5321.7907
Oahu | CentralTrackingPV | 2 | na | 3.4569 | 0.3165 | 5290.7651
Oahu | CentralTrackingPV | 152 | na | 24.1923 | 0.31656 | 5287.3082
Oahu | CentralTrackingPV | 453 | na | 0.66766 | 0.3166 | 5263.1159
Oahu | CentralTrackingPV | 485 | na | 11.1991 | 0.31661 | 5262.4483
Oahu | CentralTrackingPV | 165 | na | 10.8594 | 0.3167 | 5251.2491
Oahu | CentralTrackingPV | 500 | na | 6.353 | 0.31672 | 5240.3897
Oahu | CentralTrackingPV | 540 | na | 0.46808 | 0.31681 | 5234.0367
Oahu | CentralTrackingPV | 472 | na | 40.0014 | 0.31695 | 5233.5686
Oahu | CentralTrackingPV | 454 | na | 12.9883 | 0.31703 | 5193.5672
Oahu | CentralTrackingPV | 139 | na | 34.7718 | 0.31714 | 5180.5789
Oahu | CentralTrackingPV | 217 | na | 56.1318 | 0.31715 | 5145.8071
Oahu | CentralTrackingPV | 320 | na | 50.2695 | 0.3172 | 5089.6753
Oahu | CentralTrackingPV | 543 | na | 29.5887 | 0.3172 | 5039.4058
Oahu | CentralTrackingPV | 111 | na | 14.1857 | 0.31721 | 5009.8171
Oahu | CentralTrackingPV | 297 | na | 34.8395 | 0.31727 | 4995.6314
Oahu | CentralTrackingPV | 262 | na | 16.7496 | 0.31729 | 4960.7919
Oahu | CentralTrackingPV | 443 | na | 7.5876 | 0.3174 | 4944.0423
Oahu | CentralTrackingPV | 141 | na | 1.0414 | 0.31744 | 4936.4546
Oahu | CentralTrackingPV | 172 | na | 50.4053 | 0.31745 | 4935.4133
Oahu | CentralTrackingPV | 248 | na | 39.1135 | 0.31751 | 4885.008
Oahu | CentralTrackingPV | 335 | na | 3.125 | 0.3176 | 4845.8945
Oahu | CentralTrackingPV | 170 | na | 35.1076 | 0.31763 | 4842.7694
Oahu | CentralTrackingPV | 590 | na | 3.1105 | 0.31767 | 4807.6619
Oahu | CentralTrackingPV | 561 | na | 0.3396 | 0.31774 | 4804.5514
Oahu | CentralTrackingPV | 151 | na | 45.541 | 0.31776 | 4804.2118
Oahu | CentralTrackingPV | 577 | na | 0.088128 | 0.31785 | 4758.6707
Oahu | CentralTrackingPV | 507 | na | 22.0635 | 0.31786 | 4758.5826
Oahu | CentralTrackingPV | 298 | na | 10.2066 | 0.31788 | 4736.5191
Oahu | CentralTrackingPV | 480 | na | 40.2176 | 0.3179 | 4726.3124
Oahu | CentralTrackingPV | 471 | na | 2.6713 | 0.31791 | 4686.0949
Oahu | CentralTrackingPV | 486 | na | 0.024118 | 0.31798 | 4683.4235
Oahu | CentralTrackingPV | 249 | na | 56.3546 | 0.31799 | 4683.3994
Oahu | CentralTrackingPV | 188 | na | 31.1388 | 0.31802 | 4627.0448
Oahu | CentralTrackingPV | 228 | na | 11.7469 | 0.31803 | 4595.906
Oahu | CentralTrackingPV | 512 | na | 0.16924 | 0.31806 | 4584.1591
Oahu | CentralTrackingPV | 533 | na | 5.0414 | 0.31816 | 4583.9899
Oahu | CentralTrackingPV | 169 | na | 34.9073 | 0.31817 | 4578.9484
Oahu | CentralTrackingPV | 591 | na | 0.18235 | 0.31824 | 4544.0411
Oahu | CentralTrackingPV | 190 | na | 53.0924 | 0.3183 | 4543.8588
Oahu | CentralTrackingPV | 219 | na | 41.38 | 0.31832 | 4490.7663
Oahu | CentralTrackingPV | 499 | na | 33.677 | 0.31832 | 4449.3863
Oahu | CentralTrackingPV | 602 | na | 0.18816 | 0.3184 | 4415.7093
Oahu | CentralTrackingPV | 191 | na | 19.4827 | 0.31841 | 4415.5212
Oahu | CentralTrackingPV | 483 | na | 5.7439 | 0.31842 | 4396.0384
Oahu | CentralTrackingPV | 284 | na | 52.4386 | 0.31846 | 4390.2946
Oahu | CentralTrackingPV | 481 | na | 7.8401 | 0.31847 | 4337.856
Oahu | CentralTrackingPV | 357 | na | 41.7188 | 0.31847 | 4330.0159
Oahu | CentralTrackingPV | 157 | na | 5.3182 | 0.31862 | 4288.2971
Oahu | CentralTrackingPV | 195 | na | 40.9923 | 0.31863 | 4282.9789
Oahu | CentralTrackingPV | 227 | na | 29.2678 | 0.31865 | 4241.9866
Oahu | CentralTrackingPV | 153 | na | 23.7091 | 0.31889 | 4212.7188
Oahu | CentralTrackingPV | 532 | na | 1.5291 | 0.31896 | 4189.0097
Oahu | CentralTrackingPV | 550 | na | 1.8224 | 0.31898 | 4187.4805
Oahu | CentralTrackingPV | 36 | na | 0.3961 | 0.319 | 4185.6582
Oahu | CentralTrackingPV | 321 | na | 57.811 | 0.31903 | 4185.2621
Oahu | CentralTrackingPV | 498 | na | 6.1792 | 0.31905 | 4127.451
Oahu | CentralTrackingPV | 482 | na | 3.5804 | 0.31922 | 4121.2719
Oahu | CentralTrackingPV | 171 | na | 43.1874 | 0.3193 | 4117.6915
Oahu | CentralTrackingPV | 125 | na | 0.48232 | 0.31932 | 4074.5041
Oahu | CentralTrackingPV | 218 | na | 27.9666 | 0.31941 | 4074.0218
Oahu | CentralTrackingPV | 194 | na | 54.2661 | 0.31941 | 4046.0552
Oahu | CentralTrackingPV | 193 | na | 32.7698 | 0.31945 | 3991.7891
Oahu | CentralTrackingPV | 88 | na | 27.1981 | 0.31965 | 3959.0193
Oahu | CentralTrackingPV | 221 | na | 32.9355 | 0.31971 | 3931.8212
Oahu | CentralTrackingPV | 192 | na | 39.5842 | 0.31982 | 3898.8856
Oahu | CentralTrackingPV | 508 | na | 10.3633 | 0.31989 | 3859.3014
Oahu | CentralTrackingPV | 562 | na | 1.9802 | 0.31996 | 3848.9381
Oahu | CentralTrackingPV | 173 | na | 37.4718 | 0.31997 | 3846.9579
Oahu | CentralTrackingPV | 592 | na | 0.37394 | 0.31998 | 3809.4861
Oahu | CentralTrackingPV | 511 | na | 3.8303 | 0.32 | 3809.1122
Oahu | CentralTrackingPV | 196 | na | 21.8344 | 0.32008 | 3805.2819
Oahu | CentralTrackingPV | 509 | na | 33.6283 | 0.32015 | 3783.4475
Oahu | CentralTrackingPV | 285 | na | 44.2186 | 0.32015 | 3749.8192
Oahu | CentralTrackingPV | 440 | na | 0.10649 | 0.32021 | 3705.6006
Oahu | CentralTrackingPV | 527 | na | 0.43894 | 0.32025 | 3705.4941
Oahu | CentralTrackingPV | 251 | na | 47.2688 | 0.32026 | 3705.0552
Oahu | CentralTrackingPV | 429 | na | 0.10631 | 0.32034 | 3657.7864
Oahu | CentralTrackingPV | 510 | na | 12.4806 | 0.32034 | 3657.6801
Oahu | CentralTrackingPV | 336 | na | 38.0646 | 0.32035 | 3645.1995
Oahu | CentralTrackingPV | 492 | na | 2.3433 | 0.32036 | 3607.1349
Oahu | CentralTrackingPV | 260 | na | 42.1657 | 0.32043 | 3604.7917
Oahu | CentralTrackingPV | 158 | na | 2.8299 | 0.32047 | 3562.6259
Oahu | CentralTrackingPV | 225 | na | 52.5369 | 0.32048 | 3559.796
Oahu | CentralTrackingPV | 549 | na | 0.66337 | 0.32049 | 3507.2591
Oahu | CentralTrackingPV | 26 | na | 1.7842 | 0.3205 | 3506.5958
Oahu | CentralTrackingPV | 393 | na | 15.6751 | 0.32055 | 3504.8115
Oahu | CentralTrackingPV | 253 | na | 43.1892 | 0.32061 | 3489.1365
Oahu | CentralTrackingPV | 252 | na | 47.7043 | 0.32062 | 3445.9473
Oahu | CentralTrackingPV | 544 | na | 5.6098 | 0.32067 | 3398.2429
Oahu | CentralTrackingPV | 220 | na | 32.9063 | 0.32078 | 3392.6331
Oahu | CentralTrackingPV | 334 | na | 8.8917 | 0.32084 | 3359.7268
Oahu | CentralTrackingPV | 287 | na | 57.9161 | 0.32098 | 3350.8351
Oahu | CentralTrackingPV | 223 | na | 26.5992 | 0.32102 | 3292.919
Oahu | CentralTrackingPV | 142 | na | 0.63337 | 0.32108 | 3266.3198
Oahu | CentralTrackingPV | 579 | na | 3.9807 | 0.32116 | 3265.6864
Oahu | CentralTrackingPV | 358 | na | 57.1258 | 0.32118 | 3261.7057
Oahu | CentralTrackingPV | 531 | na | 11.7021 | 0.32119 | 3204.5799
Oahu | CentralTrackingPV | 464 | na | 7.1256 | 0.32119 | 3192.8777
Oahu | CentralTrackingPV | 250 | na | 26.2575 | 0.32121 | 3185.7522
Oahu | CentralTrackingPV | 289 | na | 27.6594 | 0.32122 | 3159.4947
Oahu | CentralTrackingPV | 406 | na | 0.019211 | 0.32131 | 3131.8353
Oahu | CentralTrackingPV | 288 | na | 55.9686 | 0.32132 | 3131.8161
Oahu | CentralTrackingPV | 325 | na | 56.6637 | 0.32133 | 3075.8475
Oahu | CentralTrackingPV | 226 | na | 34.9786 | 0.32145 | 3019.1838
Oahu | CentralTrackingPV | 222 | na | 20.3046 | 0.3215 | 2984.2053
Oahu | CentralTrackingPV | 578 | na | 0.075356 | 0.32152 | 2963.9007
Oahu | CentralTrackingPV | 18 | na | 40.3201 | 0.32154 | 2963.8254
Oahu | CentralTrackingPV | 259 | na | 41.9907 | 0.32159 | 2923.5052
Oahu | CentralTrackingPV | 457 | na | 1.5768 | 0.32165 | 2881.5145
Oahu | CentralTrackingPV | 530 | na | 25.3238 | 0.32197 | 2879.9377
Oahu | CentralTrackingPV | 563 | na | 7.7593 | 0.322 | 2854.6138
Oahu | CentralTrackingPV | 439 | na | 2.4325 | 0.32206 | 2846.8545
Oahu | CentralTrackingPV | 593 | na | 0.065883 | 0.32211 | 2844.422
Oahu | CentralTrackingPV | 323 | na | 56.8902 | 0.32215 | 2844.3561
Oahu | CentralTrackingPV | 529 | na | 12.0229 | 0.32216 | 2787.466
Oahu | CentralTrackingPV | 92 | na | 3.4933 | 0.32217 | 2775.4431
Oahu | CentralTrackingPV | 394 | na | 32.8299 | 0.32229 | 2771.9498
Oahu | CentralTrackingPV | 286 | na | 51.6233 | 0.3223 | 2739.1199
Oahu | CentralTrackingPV | 162 | na | 0.22932 | 0.32235 | 2687.4966
Oahu | CentralTrackingPV | 435 | na | 22.206 | 0.32236 | 2687.2673
Oahu | CentralTrackingPV | 528 | na | 30.4446 | 0.32238 | 2665.0612
Oahu | CentralTrackingPV | 224 | na | 35.5219 | 0.32243 | 2634.6166
Oahu | CentralTrackingPV | 324 | na | 58.218 | 0.32252 | 2599.0947
Oahu | CentralTrackingPV | 359 | na | 24.0796 | 0.32266 | 2540.8767
Oahu | CentralTrackingPV | 322 | na | 33.4142 | 0.3227 | 2516.7971
Oahu | CentralTrackingPV | 361 | na | 56.349 | 0.32272 | 2483.3829
Oahu | CentralTrackingPV | 463 | na | 10.1621 | 0.32274 | 2427.0339
Oahu | CentralTrackingPV | 363 | na | 20.8806 | 0.32275 | 2416.8717
Oahu | CentralTrackingPV | 545 | na | 17.6052 | 0.32278 | 2395.9912
Oahu | CentralTrackingPV | 327 | na | 32.3248 | 0.32279 | 2378.386
Oahu | CentralTrackingPV | 438 | na | 6.9658 | 0.3228 | 2346.0612
Oahu | CentralTrackingPV | 612 | na | 1.6803 | 0.32282 | 2339.0954
Oahu | CentralTrackingPV | 76 | na | 22.0993 | 0.32282 | 2337.4151
Oahu | CentralTrackingPV | 567 | na | 0.035859 | 0.32286 | 2315.3158
Oahu | CentralTrackingPV | 400 | na | 18.4582 | 0.32286 | 2315.28
Oahu | CentralTrackingPV | 91 | na | 2.7341 | 0.32287 | 2296.8218
Oahu | CentralTrackingPV | 466 | na | 0.31752 | 0.32289 | 2294.0877
Oahu | CentralTrackingPV | 93 | na | 0.72019 | 0.323 | 2293.7701
Oahu | CentralTrackingPV | 126 | na | 0.59311 | 0.323 | 2293.05
Oahu | CentralTrackingPV | 491 | na | 7.8431 | 0.32302 | 2292.4568
Oahu | CentralTrackingPV | 254 | na | 26.8607 | 0.32308 | 2284.6138
Oahu | CentralTrackingPV | 104 | na | 1.1641 | 0.32311 | 2257.7531
Oahu | CentralTrackingPV | 442 | na | 5.0163 | 0.32312 | 2256.589
Oahu | CentralTrackingPV | 407 | na | 0.81264 | 0.32313 | 2251.5727
Oahu | CentralTrackingPV | 546 | na | 12.2987 | 0.32314 | 2250.7601
Oahu | CentralTrackingPV | 326 | na | 14.4622 | 0.32314 | 2238.4614
Oahu | CentralTrackingPV | 436 | na | 12.1281 | 0.32317 | 2223.9992
Oahu | CentralTrackingPV | 75 | na | 18.3564 | 0.32319 | 2211.8711
Oahu | CentralTrackingPV | 371 | na | 0.021432 | 0.32324 | 2193.5147
Oahu | CentralTrackingPV | 405 | na | 11.9683 | 0.32325 | 2193.4933
Oahu | CentralTrackingPV | 143 | na | 2.3531 | 0.32328 | 2181.525
Oahu | CentralTrackingPV | 296 | na | 36.1573 | 0.32334 | 2179.1719
Oahu | CentralTrackingPV | 404 | na | 8.2475 | 0.32337 | 2143.0146
Oahu | CentralTrackingPV | 409 | na | 2.7778 | 0.32345 | 2134.767
Oahu | CentralTrackingPV | 398 | na | 16.2085 | 0.32348 | 2131.9892
Oahu | CentralTrackingPV | 19 | na | 1.4765 | 0.3235 | 2115.7807
Oahu | CentralTrackingPV | 580 | na | 0.17828 | 0.32352 | 2114.3042
Oahu | CentralTrackingPV | 374 | na | 8.6389 | 0.32352 | 2114.126
Oahu | CentralTrackingPV | 548 | na | 3.5582 | 0.32352 | 2105.4871
Oahu | CentralTrackingPV | 1 | na | 0.094138 | 0.32357 | 2101.9288
Oahu | CentralTrackingPV | 564 | na | 1.6224 | 0.32358 | 2101.8347
Oahu | CentralTrackingPV | 290 | na | 38.9119 | 0.32367 | 2100.2122
Oahu | CentralTrackingPV | 616 | na | 3.1119 | 0.32368 | 2061.3004
Oahu | CentralTrackingPV | 399 | na | 16.6853 | 0.32377 | 2058.1885
Oahu | CentralTrackingPV | 74 | na | 55.7452 | 0.3239 | 2041.5031
Oahu | CentralTrackingPV | 437 | na | 4.7635 | 0.3239 | 1985.7579
Oahu | CentralTrackingPV | 255 | na | 25.6199 | 0.32391 | 1980.9944
Oahu | CentralTrackingPV | 71 | na | 35.924 | 0.32394 | 1955.3746
Oahu | CentralTrackingPV | 362 | na | 15.9483 | 0.324 | 1919.4506
Oahu | CentralTrackingPV | 396 | na | 42.5992 | 0.32401 | 1903.5023
Oahu | CentralTrackingPV | 364 | na | 17.4373 | 0.32405 | 1860.9031
Oahu | CentralTrackingPV | 100 | na | 0.39473 | 0.32412 | 1843.4658
Oahu | CentralTrackingPV | 89 | na | 42.1137 | 0.32412 | 1843.0711
Oahu | CentralTrackingPV | 458 | na | 12.3476 | 0.32413 | 1800.9574
Oahu | CentralTrackingPV | 257 | na | 34.0291 | 0.3242 | 1788.6099
Oahu | CentralTrackingPV | 430 | na | 14.1267 | 0.32423 | 1754.5808
Oahu | CentralTrackingPV | 465 | na | 0.18816 | 0.32424 | 1740.4541
Oahu | CentralTrackingPV | 11 | na | 23.1785 | 0.32431 | 1740.2659
Oahu | CentralTrackingPV | 395 | na | 28.7928 | 0.32437 | 1717.0874
Oahu | CentralTrackingPV | 547 | na | 9.7209 | 0.32438 | 1688.2947
Oahu | CentralTrackingPV | 408 | na | 8.0175 | 0.32442 | 1678.5738
Oahu | CentralTrackingPV | 258 | na | 41.2304 | 0.32443 | 1670.5563
Oahu | CentralTrackingPV | 127 | na | 6.8533 | 0.32447 | 1629.3259
Oahu | CentralTrackingPV | 373 | na | 18.2019 | 0.32448 | 1622.4726
Oahu | CentralTrackingPV | 60 | na | 45.7904 | 0.32449 | 1604.2707
Oahu | CentralTrackingPV | 431 | na | 9.7851 | 0.32455 | 1558.4803
Oahu | CentralTrackingPV | 360 | na | 57.1699 | 0.32456 | 1548.6952
Oahu | CentralTrackingPV | 370 | na | 5.1653 | 0.32465 | 1491.5253
Oahu | CentralTrackingPV | 10 | na | 0.49751 | 0.32466 | 1486.36
Oahu | CentralTrackingPV | 684 | na | 0.00588 | 0.32469 | 1485.8625
Oahu | CentralTrackingPV | 434 | na | 15.5101 | 0.32469 | 1485.8566
Oahu | CentralTrackingPV | 462 | na | 20.9809 | 0.32469 | 1470.3465
Oahu | CentralTrackingPV | 441 | na | 1.3736 | 0.32478 | 1449.3656
Oahu | CentralTrackingPV | 433 | na | 2.0983 | 0.32479 | 1447.992
Oahu | CentralTrackingPV | 41 | na | 0.24369 | 0.32484 | 1445.8937
Oahu | CentralTrackingPV | 397 | na | 32.2493 | 0.3249 | 1445.65
Oahu | CentralTrackingPV | 45 | na | 20.9978 | 0.325 | 1413.4006
Oahu | CentralTrackingPV | 333 | na | 19.6666 | 0.32503 | 1392.4029
Oahu | CentralTrackingPV | 291 | na | 42.4134 | 0.32506 | 1372.7363
Oahu | CentralTrackingPV | 369 | na | 3.4149 | 0.32508 | 1330.3229
Oahu | CentralTrackingPV | 46 | na | 30.2226 | 0.32509 | 1326.908
Oahu | CentralTrackingPV | 365 | na | 10.8509 | 0.32523 | 1296.6854
Oahu | CentralTrackingPV | 490 | na | 6.3621 | 0.32531 | 1285.8345
Oahu | CentralTrackingPV | 61 | na | 37.2482 | 0.32532 | 1279.4724
Oahu | CentralTrackingPV | 87 | na | 29.5788 | 0.32532 | 1242.2243
Oahu | CentralTrackingPV | 372 | na | 5.9245 | 0.32537 | 1212.6455
Oahu | CentralTrackingPV | 55 | na | 12.9597 | 0.32549 | 1206.721
Oahu | CentralTrackingPV | 460 | na | 25.3676 | 0.3255 | 1193.7613
Oahu | CentralTrackingPV | 70 | na | 20.0723 | 0.32551 | 1168.3937
Oahu | CentralTrackingPV | 72 | na | 39.7693 | 0.32559 | 1148.3214
Oahu | CentralTrackingPV | 33 | na | 35.5248 | 0.32561 | 1108.5521
Oahu | CentralTrackingPV | 403 | na | 5.8518 | 0.32561 | 1073.0273
Oahu | CentralTrackingPV | 566 | na | 2.4818 | 0.32579 | 1067.1755
Oahu | CentralTrackingPV | 401 | na | 15.2416 | 0.32582 | 1064.6937
Oahu | CentralTrackingPV | 432 | na | 16.7274 | 0.32589 | 1049.452
Oahu | CentralTrackingPV | 402 | na | 0.34297 | 0.32591 | 1032.7246
Oahu | CentralTrackingPV | 101 | na | 11.9222 | 0.32593 | 1032.3816
Oahu | CentralTrackingPV | 565 | na | 0.079996 | 0.32595 | 1020.4594
Oahu | CentralTrackingPV | 99 | na | 0.73672 | 0.32602 | 1020.3794
Oahu | CentralTrackingPV | 581 | na | 0.18922 | 0.32602 | 1019.6427
Oahu | CentralTrackingPV | 367 | na | 21.0429 | 0.32603 | 1019.4534
Oahu | CentralTrackingPV | 7 | na | 9.9911 | 0.32605 | 998.4106
Oahu | CentralTrackingPV | 112 | na | 4.2352 | 0.32605 | 988.4194
Oahu | CentralTrackingPV | 256 | na | 34.9483 | 0.3261 | 984.1843
Oahu | CentralTrackingPV | 73 | na | 25.4101 | 0.32615 | 949.2359
Oahu | CentralTrackingPV | 161 | na | 0.35877 | 0.32616 | 923.8259
Oahu | CentralTrackingPV | 459 | na | 12.1005 | 0.32619 | 923.4671
Oahu | CentralTrackingPV | 56 | na | 50.3034 | 0.32623 | 911.3665
Oahu | CentralTrackingPV | 488 | na | 12.723 | 0.32623 | 861.0631
Oahu | CentralTrackingPV | 328 | na | 27.5037 | 0.32629 | 848.3401
Oahu | CentralTrackingPV | 54 | na | 2.3261 | 0.32643 | 820.8364
Oahu | CentralTrackingPV | 159 | na | 0.00588 | 0.32656 | 818.5103
Oahu | CentralTrackingPV | 85 | na | 4.2968 | 0.32668 | 818.5045
Oahu | CentralTrackingPV | 461 | na | 20.5999 | 0.32671 | 814.2077
Oahu | CentralTrackingPV | 160 | na | 0.6468 | 0.32671 | 793.6077
Oahu | CentralTrackingPV | 27 | na | 16.489 | 0.32681 | 792.9609
Oahu | CentralTrackingPV | 368 | na | 13.2307 | 0.32683 | 776.4719
Oahu | CentralTrackingPV | 128 | na | 0.18816 | 0.32692 | 763.2412
Oahu | CentralTrackingPV | 515 | na | 9.9394 | 0.32695 | 763.0531
Oahu | CentralTrackingPV | 59 | na | 51.7128 | 0.32698 | 753.1137
Oahu | CentralTrackingPV | 295 | na | 31.7398 | 0.32701 | 701.4009
Oahu | CentralTrackingPV | 331 | na | 18.5749 | 0.32703 | 669.6611
Oahu | CentralTrackingPV | 487 | na | 0.00588 | 0.32705 | 651.0862
Oahu | CentralTrackingPV | 329 | na | 5.8315 | 0.32705 | 651.0803
Oahu | CentralTrackingPV | 12 | na | 16.0234 | 0.32707 | 645.2488
Oahu | CentralTrackingPV | 514 | na | 9.6811 | 0.32709 | 629.2255
Oahu | CentralTrackingPV | 69 | na | 4.008 | 0.32712 | 619.5444
Oahu | CentralTrackingPV | 113 | na | 6.7886 | 0.32716 | 615.5364
Oahu | CentralTrackingPV | 32 | na | 0.017579 | 0.32724 | 608.7478
Oahu | CentralTrackingPV | 58 | na | 1.9221 | 0.32741 | 608.7302
Oahu | CentralTrackingPV | 13 | na | 0.11256 | 0.32742 | 606.8081
Oahu | CentralTrackingPV | 17 | na | 29.1127 | 0.32751 | 606.6956
Oahu | CentralTrackingPV | 293 | na | 36.5867 | 0.32751 | 577.5829
Oahu | CentralTrackingPV | 366 | na | 3.4035 | 0.32753 | 540.9962
Oahu | CentralTrackingPV | 42 | na | 27.5577 | 0.32754 | 537.5927
Oahu | CentralTrackingPV | 489 | na | 14.85 | 0.3278 | 510.035
Oahu | CentralTrackingPV | 47 | na | 51.4408 | 0.32792 | 495.185
Oahu | CentralTrackingPV | 330 | na | 20.0996 | 0.32796 | 443.7441
Oahu | CentralTrackingPV | 90 | na | 6.4784 | 0.32801 | 423.6446
Oahu | CentralTrackingPV | 332 | na | 12.8689 | 0.3281 | 417.1662
Oahu | CentralTrackingPV | 44 | na | 16.713 | 0.32816 | 404.2973
Oahu | CentralTrackingPV | 43 | na | 33.6527 | 0.32828 | 387.5843
Oahu | CentralTrackingPV | 25 | na | 31.619 | 0.32829 | 353.9316
Oahu | CentralTrackingPV | 292 | na | 34.0182 | 0.32832 | 322.3126
Oahu | CentralTrackingPV | 294 | na | 31.5162 | 0.32857 | 288.2944
Oahu | CentralTrackingPV | 105 | na | 1.7703 | 0.32861 | 256.7781
Oahu | CentralTrackingPV | 24 | na | 3.6065 | 0.32864 | 255.0079
Oahu | CentralTrackingPV | 57 | na | 21.8117 | 0.32873 | 251.4014
Oahu | CentralTrackingPV | 77 | na | 24.7591 | 0.3288 | 229.5897
Oahu | CentralTrackingPV | 86 | na | 4.7669 | 0.32892 | 204.8306
Oahu | CentralTrackingPV | 62 | na | 51.3285 | 0.32906 | 200.0637
Oahu | CentralTrackingPV | 118 | na | 6.3852 | 0.3296 | 148.7352
Oahu | CentralTrackingPV | 103 | na | 0.57881 | 0.33015 | 142.35
Oahu | CentralTrackingPV | 49 | na | 0.02352 | 0.33023 | 141.7712
Oahu | CentralTrackingPV | 34 | na | 39.9313 | 0.33025 | 141.7476
Oahu | CentralTrackingPV | 114 | na | 0.3951 | 0.33086 | 101.8163
Oahu | CentralTrackingPV | 35 | na | 7.7235 | 0.33098 | 101.4212
Oahu | CentralTrackingPV | 20 | na | 1.9918 | 0.33099 | 93.6977
Oahu | CentralTrackingPV | 115 | na | 0.37632 | 0.33118 | 91.7059
Oahu | CentralTrackingPV | 102 | na | 4.9701 | 0.33137 | 91.3296
Oahu | CentralTrackingPV | 28 | na | 0.31818 | 0.3325 | 86.3595
Oahu | CentralTrackingPV | 64 | na | 0.89157 | 0.33373 | 86.0413
Oahu | CentralTrackingPV | 78 | na | 0.12921 | 0.33406 | 85.1497
Oahu | CentralTrackingPV | 129 | na | 0.97821 | 0.3341 | 85.0205
Oahu | CentralTrackingPV | 63 | na | 19.0379 | 0.33428 | 84.0423
Oahu | CentralTrackingPV | 48 | na | 17.1847 | 0.3346 | 65.0044
Oahu | CentralTrackingPV | 116 | na | 5.2323 | 0.33527 | 47.8197
Oahu | CentralTrackingPV | 130 | na | 2.6369 | 0.33576 | 42.5874
Oahu | CentralTrackingPV | 131 | na | 2.4108 | 0.33583 | 39.9505
Oahu | CentralTrackingPV | 134 | na | 4.7641 | 0.33597 | 37.5397
Oahu | CentralTrackingPV | 144 | na | 2.3953 | 0.33623 | 32.7756
Oahu | CentralTrackingPV | 117 | na | 20.2308 | 0.33704 | 30.3804
Oahu | CentralTrackingPV | 145 | na | 7.8123 | 0.33715 | 10.1496
Oahu | CentralTrackingPV | 132 | na | 1.1612 | 0.33723 | 2.3372
Oahu | CentralTrackingPV | 133 | na | 1.176 | 0.33858 | 1.176
Oahu | DistPV_peak | 1 | na | 3022.509 | 0.24482 | 3022.509
[5 empty] | 0.24482 | 0
Oahu | Wind | 105 | na | 17.5 | 0.11113 | 2677.5
Oahu | Wind | 107 | na | 20 | 0.11861 | 2660
Oahu | Wind | 106 | na | 60 | 0.11936 | 2640
Oahu | Wind | 101 | na | 20 | 0.12039 | 2580
Oahu | Wind | 104 | na | 27.5 | 0.12091 | 2560
Oahu | Wind | 102 | na | 305 | 0.12349 | 2532.5
Oahu | Wind | 103 | na | 100 | 0.12641 | 2227.5
Oahu | Wind | 207 | na | 120 | 0.15015 | 2127.5
Oahu | Wind | 203 | na | 50 | 0.153 | 2007.5
Oahu | Wind | 208 | na | 82.5 | 0.15324 | 1957.5
Oahu | Wind | 201 | na | 37.5 | 0.15609 | 1875
Oahu | Wind | 202 | na | 220 | 0.15633 | 1837.5
Oahu | Wind | 204 | na | 15 | 0.15762 | 1617.5
Oahu | Wind | 206 | na | 10 | 0.15915 | 1602.5
Oahu | Wind | 205 | na | 20 | 0.16214 | 1592.5
Oahu | Wind | 209 | na | 2.5 | 0.16764 | 1572.5
Oahu | Wind | 309 | na | 2.5 | 0.18103 | 1570
Oahu | Wind | 308 | na | 32.5 | 0.18696 | 1567.5
Oahu | Wind | 307 | na | 75 | 0.18854 | 1535
Oahu | Wind | 306 | na | 27.5 | 0.18881 | 1460
Oahu | Wind | 301 | na | 120 | 0.18961 | 1432.5
Oahu | Wind | 305 | na | 170 | 0.18991 | 1312.5
Oahu | Wind | 302 | na | 52.5 | 0.19262 | 1142.5
Oahu | Wind | 304 | na | 57.5 | 0.19356 | 1090
Oahu | Wind | 303 | na | 15 | 0.19584 | 1032.5
Oahu | Wind | 410 | na | 2.5 | 0.21826 | 1017.5
Oahu | Wind | 407 | na | 12.5 | 0.23182 | 1015
Oahu | Wind | 403 | na | 47.5 | 0.23831 | 1002.5
Oahu | Wind | 406 | na | 42.5 | 0.23926 | 955
Oahu | Wind | 405 | na | 45 | 0.24237 | 912.5
Oahu | Wind | 409 | na | 50 | 0.24647 | 867.5
Oahu | Wind | 402 | na | 52.5 | 0.25005 | 817.5
Oahu | Wind | 408 | na | 15 | 0.25022 | 765
Oahu | Wind | 401 | na | 212.5 | 0.2503 | 750
Oahu | Wind | 404 | na | 50 | 0.25343 | 537.5
Oahu | Wind | 508 | na | 2.5 | 0.27856 | 487.5
Oahu | Wind | 509 | na | 2.5 | 0.28388 | 485
Oahu | Wind | 502 | na | 42.5 | 0.28932 | 482.5
Oahu | Wind | 504 | na | 20 | 0.29785 | 440
Oahu | Wind | 507 | na | 10 | 0.30347 | 420
Oahu | Wind | 505 | na | 42.5 | 0.32016 | 410
Oahu | Wind | 506 | na | 7.5 | 0.32239 | 367.5
Oahu | Wind | 501 | na | 242.5 | 0.34228 | 360
Oahu | Wind | 503 | na | 117.5 | 0.362 | 117.5
(1506 rows)