## summary_all_scenarios.tsv
scenario | max_demand_response_share | total_cost | cost_per_kwh | cost_per_kwh_2021 | cost_per_kwh_2029 | cost_per_kwh_2037 | cost_per_kwh_2045 | renewable_share_all_years | renewable_share_2021 | renewable_share_2029 | renewable_share_2037 | renewable_share_2045
x_base | 0 | 18778222729.2625 | 0.15078 | 0.1536 | 0.14523 | 0.14575 | 0.15861 | 0.17464 |  |  |  |  | base | base
rps_base | 0.2 | 17957402469.4552 | 0.14393 | 0.1436 | 0.13781 | 0.12879 | 0.17456 | 0.66921 | 0.45954 | 0.52572 | 0.7 | 1 | base | base
rps_fed_subsidies | 0.2 | 16459799272.067 | 0.13198 | 0.13521 | 0.12601 | 0.11693 | 0.15427 | 0.69225 | 0.5036 | 0.56355 | 0.7 | 1 | continued renewable subsidies | fed_subsidies
x_high_oil_price | 0 | 20667362930.8638 | 0.16667 | 0.16385 | 0.1637 | 0.16254 | 0.1765 | 0.1746 |  |  |  |  | high oil price | high_oil_price
rps_high_oil_price | 0.2 | 19530237336.3285 | 0.15657 | 0.15823 | 0.15307 | 0.13783 | 0.1831 | 0.66824 | 0.48099 | 0.46584 | 0.72532 | 1 | high oil price | high_oil_price
x_lng_oil_peg | 0 | 20998090869.5216 | 0.16946 | 0.15906 | 0.16131 | 0.17262 | 0.19364 | 0.17453 |  |  |  |  | LNG price pegged to oil price | lng_oil_peg
rps_lng_oil_peg | 0.2 | 17964036683.8845 | 0.144 | 0.14365 | 0.13774 | 0.129 | 0.1746 | 0.67051 | 0.45927 | 0.52509 | 0.7 | 1 | LNG price pegged to oil price | lng_oil_peg
x_low_oil_price | 0 | 17509765100.0986 | 0.1404 | 0.14268 | 0.13936 | 0.13518 | 0.14346 | 0.17462 |  |  |  |  | low oil price | low_oil_price
rps_low_oil_price | 0.2 | 16682432671.4047 | 0.13366 | 0.13582 | 0.1246 | 0.11608 | 0.16737 | 0.6248 | 0.40393 | 0.4 | 0.7 | 1 | low oil price | low_oil_price
rps_high_oil_and_lng_price | 0.2 | 20076184423.532 | 0.16085 | 0.16188 | 0.15874 | 0.14453 | 0.18379 | 0.74087 |  |  |  |  | LNG pegged to high oil price | high_oil_and_lng_price
x_high_oil_and_lng_price | 0 | 26127536417.8772 | 0.20934 | 0.18429 | 0.20073 | 0.22401 | 0.25794 | 0.17451 |  |  |  |  | LNG pegged to high oil price | high_oil_and_lng_price
rps_more_dr | 0.4 | 17242103179.6789 | 0.13814 | 0.1413 | 0.13168 | 0.12112 | 0.16469 | 0.68362 | 0.49859 | 0.54034 | 0.7 | 1 | more demand response (40%) | more_dr
rps_no_dr | 0 | 18944272991.1813 | 0.15189 | 0.14887 | 0.14462 | 0.13817 | 0.18799 | 0.63 | 0.39209 | 0.4 | 0.7 | 1 | no demand response | no_dr
rps_no_ph | 0.2 | 18170893157.566 | 0.14559 | 0.14331 | 0.13935 | 0.13131 | 0.17976 | 0.66924 | 0.46991 | 0.50735 | 0.7 | 1 | no pumped hydro storage | no_ph
rps_no_wind | 0.2 | 18227597073.1707 | 0.14621 | 0.14568 | 0.13764 | 0.13146 | 0.18009 | 0.66813 | 0.44444 | 0.52516 | 0.7 | 1 | no new wind | no_wind
rps_no_wind_no_central_pv | 0.2 | 19602515660.6583 | 0.15721 | 0.15449 | 0.14372 | 0.14497 | 0.20073 | 0.59982 | 0.3 | 0.4 | 0.7 | 1 | no new wind or central PV | no_wind_no_central_pv
rps_re_cost_trend | 0.2 | 15562788063.3175 | 0.12482 | 0.13786 | 0.12004 | 0.10873 | 0.12529 | 0.67151 | 0.41659 | 0.56961 | 0.7 | 1 | renewable costs follow past trend | re_cost_trend
rps_triple_ph | 0.2 | 17913553955.5213 | 0.14363 | 0.14239 | 0.13769 | 0.12976 | 0.17389 | 0.66748 | 0.46118 | 0.50235 | 0.7 | 1 | three pumped storage projects available | triple_ph
rps_re_cost_trend_more_dr | 0.4 | 14698211227.7739 | 0.11776 | 0.13564 | 0.11328 | 0.097927 | 0.11312 | 0.70072 |  |  |  |  | high DR and RE cost trends continue | re_cost_trend_more_dr
base |  |  | 0.15078 |  |  |  |  | 0.17464
|  |  | 0.16946 | 0.15906 | 0.16131 | 0.17262 | 0.19364 | 0.17453
low_oil_price |  |  | 0.14393
0.144
high_oil_price |  |  | 0.13198
0.1404
scenario | max_demand_response_share | total_cost | cost_per_kwh | cost_per_kwh_2021 | cost_per_kwh_2029 | cost_per_kwh_2037 | cost_per_kwh_2045 | renewable_share_all_years | renewable_share_2021 | renewable_share_2029 | renewable_share_2037 | renewable_share_2045
rps_base | 0.2 | 17964788960.8005 | 0.14393 | 0.14283 | 0.13729 | 0.12943 | 0.17656 | 0.66921 | 0.4685 | 0.50915 | 0.7 | 1
rps_low_oil_price | 0.2 | 16682432671.4046 | 0.13366 | 0.13582 | 0.1246 | 0.11608 | 0.16737 | 0.6248 | 0.40393 | 0.4 | 0.7 | 1
rps_high_oil_price | 0.2 | 19541509044.3559 | 0.15657 | 0.15823 | 0.15306 | 0.13795 | 0.18352 | 0.66824 | 0.48099 | 0.46758 | 0.72461 | 1
rps_lng_oil_peg | 0.2 | 17972694136.4152 | 0.144 | 0.14361 | 0.13771 | 0.12914 | 0.17497 | 0.67051 | 0.45946 | 0.52518 | 0.7 | 1
rps_high_oil_and_lng_price | 0.2 | 20076184423.532 | 0.16085 | 0.16188 | 0.15874 | 0.14453 | 0.18379 | 0.74087 | 0.55547 | 0.61617 | 0.7892 | 1
x_base | 0 | 18819285288.1163 | 0.15078 | 0.1536 | 0.14558 | 0.14625 | 0.15936 | 0.17464 | 0.17311 | 0.16739 | 0.17817 | 0.17998
x_low_oil_price | 0 | 17523318366.6778 | 0.1404 | 0.14268 | 0.13971 | 0.1356 | 0.143 | 0.17462 | 0.17311 | 0.16739 | 0.17818 | 0.17987
x_high_oil_price | 0 | 20802665664.1406 | 0.16667 | 0.16385 | 0.16453 | 0.16462 | 0.17901 | 0.1746 | 0.17311 | 0.16739 | 0.17803 | 0.17998
x_lng_oil_peg | 0 | 21150365261.609 | 0.16946 | 0.15906 | 0.16267 | 0.17485 | 0.1959 | 0.17453 | 0.17311 | 0.16739 | 0.1779 | 0.17983
x_high_oil_and_lng_price | 0 | 26127536417.8772 | 0.20934 | 0.18429 | 0.20073 | 0.22401 | 0.25794 | 0.17451 | 0.17311 | 0.16739 | 0.17788 | 0.17972
rps_re_cost_trend | 0.2 | 15578779222.5668 | 0.12482 | 0.13786 | 0.12045 | 0.10867 | 0.12548 | 0.67151 | 0.41657 | 0.55781 | 0.7 | 1
rps_no_wind | 0.2 | 18248536749.8047 | 0.14621 | 0.14568 | 0.13779 | 0.13163 | 0.18065 | 0.66813 | 0.44433 | 0.52593 | 0.7 | 1
rps_no_wind_no_central_pv | 0.2 | 19621379775.0135 | 0.15721 | 0.15449 | 0.14372 | 0.14514 | 0.20143 | 0.59982 | 0.3 | 0.4 | 0.7 | 1
rps_no_ph | 0.2 | 18170893157.566 | 0.14559 | 0.14331 | 0.13935 | 0.13131 | 0.17976 | 0.66924 | 0.46991 | 0.50735 | 0.7 | 1
rps_triple_ph | 0.2 | 17927298005.5028 | 0.14363 | 0.1423 | 0.13779 | 0.12983 | 0.1745 | 0.66748 | 0.46564 | 0.50336 | 0.7 | 1
rps_fed_subsidies | 0.2 | 16472268449.8578 | 0.13198 | 0.13522 | 0.12606 | 0.11706 | 0.1546 | 0.69225 | 0.50383 | 0.56372 | 0.7 | 1
rps_no_dr | 0 | 18958123254.5924 | 0.15189 | 0.14746 | 0.14462 | 0.13915 | 0.19038 | 0.63 | 0.41479 | 0.4 | 0.7 | 1
rps_more_dr | 0.4 | 17242103179.6789 | 0.13814 | 0.1413 | 0.13168 | 0.12112 | 0.16469 | 0.68362 | 0.49859 | 0.54034 | 0.7 | 1
rps_re_cost_trend_more_dr | 0.4 | 14698211227.7739 | 0.11776 | 0.13564 | 0.11328 | 0.097927 | 0.11312 | 0.70072 | 0.42768 | 0.59261 | 0.78159 | 1
[9 empty] | 0.40393 | 0.4 | 0.7 | 1
[9 empty] | 0.48099 | 0.46758 | 0.72461 | 1
scenario names | [8 empty] | 0.45946 | 0.52518 | 0.7 | 1
short | long | [7 empty] | 0.55547 | 0.61617 | 0.7892 | 1
rps | RPS - base | [7 empty] | 0.17311 | 0.16739 | 0.17817 | 0.17998
rps_base | RPS - base | [7 empty] | 0.17311 | 0.16739 | 0.17818 | 0.17987 |  | base | base
rps_fed_subsidies | RPS - continued renewable subsidies | [7 empty] | 0.17311 | 0.16739 | 0.17803 | 0.17998 |  | fed_subsidies | continued renewable subsidies
rps_high_oil_price | RPS - high oil price | [7 empty] | 0.17311 | 0.16739 | 0.1779 | 0.17983 |  | high_oil_price | high oil price
rps_lng_oil_peg | RPS - LNG price pegged to oil price | [7 empty] | 0.17311 | 0.16739 | 0.17788 | 0.17972 |  | lng_oil_peg | LNG price pegged to oil price
rps_low_oil_price | RPS - low oil price | [7 empty] | 0.41657 | 0.55781 | 0.7 | 1 |  | low_oil_price | low oil price
rps_high_oil_and_lng_price | RPS - LNG pegged to high oil price | [7 empty] | 0.44433 | 0.52593 | 0.7 | 1 |  | high_oil_and_lng_price | LNG pegged to high oil price
rps_more_dr | RPS - more demand response (40%) | [7 empty] | 0.3 | 0.4 | 0.7 | 1 |  | more_dr | more demand response (40%)
rps_no_dr | RPS - no demand response | [7 empty] | 0.46991 | 0.50735 | 0.7 | 1 |  | no_dr | no demand response
rps_no_ph | RPS - no pumped hydro storage | [7 empty] | 0.46564 | 0.50336 | 0.7 | 1 |  | no_ph | no pumped hydro storage
rps_no_wind | RPS - no new wind | [7 empty] | 0.50383 | 0.56372 | 0.7 | 1 |  | no_wind | no new wind
rps_no_wind_no_central_pv | RPS - no new wind or central PV | [7 empty] | 0.41479 | 0.4 | 0.7 | 1 |  | no_wind_no_central_pv | no new wind or central PV
rps_re_cost_trend | RPS - renewable costs follow past trend | [7 empty] | 0.49859 | 0.54034 | 0.7 | 1 |  | re_cost_trend | renewable costs follow past trend
rps_triple_ph | RPS - three pumped storage projects available | [12 empty] | triple_ph | three pumped storage projects available
rps_re_cost_trend_more_dr | RPS - high DR and RE cost trends continue | [12 empty] | re_cost_trend_more_dr | high DR and RE cost trends continue
x | No New Renewables - base
x_base | No New Renewables - base
x_high_oil_price | No New Renewables - high oil price
x_lng_oil_peg | No New Renewables - LNG price pegged to oil price
x_low_oil_price | No New Renewables - low oil price
x_high_oil_and_lng_price | No New Renewables - LNG pegged to high oil price

## Sheet1
Base Forecast
generation_technology | g_overnight_cost | g_fixed_o_m | g_max_age | g_variable_o_m | g_full_load_heat_rate
CentralTrackingPV | 3472 | 34.43 | 25 | 0 | .
DistPV_peak | 4000 | 0 | 25 | 0 | .
Wind | 3510 | 79.52 | 20 | 0 | .
Reciprocating | 2702 | 10.14 | 30 | 11.74 | 8443
SCCT | 2800 | 22.015 | 30 | 12.22 | 10112
CCCT | 3510 | 63.775 | 30 | 10.395 | 7643
Trend Forecast | g_overnight_cost
generation_technology | 2021 | 2029 | 2037 | 2045
CentralTrackingPV | 2334.72 | 1375.4398 | 810.3048 | 477.3701
DistPV_peak | 2689.7696 | 1584.6081 | 933.5308 | 549.9655
Wind | 3748.1249 | 4090.9417 | 4465.1139 | 4873.5091
Trend Forecast |  | g_overnight_cost
generation_technology | investment_period
CentralTrackingPV | 2021 | 2334.72
| 2029 | 1375.4398
| 2037 | 810.3048
| 2045 | 477.3701
DistPV_peak | 2021 | 2689.7696
| 2029 | 1584.6081
| 2037 | 933.5308
| 2045 | 549.9655
Wind | 2021 | 3748.1249
| 2029 | 4090.9417
| 2037 | 4465.1139
| 2045 | 4873.5091
generation_technology | g_max_age | g_variable_o_m | g_full_load_heat_rate | g_unit_size
Kahuku_30_MW_WT | 49 | 0 | . | 30
Kawailoa_69_MW_WT | 48 | 0 | . | 69
Kalaeloa_5_MW_PV | 48 | 0 | . | 5
Solar_210_MW_PV | 47 | 0 | . | 210
HPower_MLG_60_MW_ST | 71 | 6.1425 | . | 60
AES_Coal_180_MW_ST | 68 | 4.47 | 10106.9046 | 180
CIP_Biodiesel_113_MW_GT | 51 | 4.935 | 18626.6599 | 113
Honolulu_LSFO_48.6_MW_ST | 60 | 8.19 | 14190.6747 | 48.6
Honolulu_LSFO_51.7_MW_ST | 57 | 8.19 | 14190.6747 | 51.7
Kahe_LSFO_128.1_MW_ST | 48 | 8.19 | 10237.7364 | 128.1
Kahe_LSFO_128.7_MW_ST | 41 | 8.19 | 10237.7364 | 128.7
Kahe_LSFO_77.9_MW_ST | 60 | 8.19 | 10237.7364 | 77.9
Kahe_LSFO_78.1_MW_ST | 59 | 8.19 | 10237.7364 | 78.1
Kahe_LSFO_82.1_MW_ST | 54 | 8.19 | 10237.7364 | 82.1
Kahe_LSFO_87.2_MW_ST | 52 | 8.19 | 10237.7364 | 87.2
Waiau_High-Sulfur-Diesel_51.2_MW_GT | 87 | 4.935 | 19048.8634 | 51.2
Waiau_LSFO_47.2_MW_ST | 70 | 8.19 | 10055.2906 | 47.2
Waiau_LSFO_47.7_MW_ST | 67 | 8.19 | 10055.2906 | 47.7
Waiau_LSFO_51.8_MW_ST | 67 | 8.19 | 10055.2906 | 51.8
Waiau_LSFO_51.9_MW_ST | 69 | 8.19 | 10055.2906 | 51.9
Waiau_LSFO_77.8_MW_ST | 62 | 8.19 | 10055.2906 | 77.8
Chevron_LSFO_3.2_MW_GT_cogen | 49 | 4.935 | 5623.49 | 3.2
Chevron_LSFO_3_MW_GT_cogen | 70 | 4.935 | 5623.4721 | 3
Kalaeloa_107_MW_CC_cogen | 69 | 6.1425 | 4453.1909 | 107
Tesoro_LSFO_20_MW_GT_cogen | 78 | 4.935 | 4345.6761 | 20